May 22, 2003

Mr. Jamar Gardner

Office of State Fire Marshal 

Department of Public Safety and Corrections

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Gambinos-PO247906

Dear Mr. Gardener

I called your office today and they said you where out today. 

On November 7, 2002, You reviewed our DWG’s. And approved them.

The bldg. is under construction. Before it was built the owner decided to move the bldg. 10’ from the property line. In doing this it eliminates the need for an exterior firewall along that side of the property line. We are asking for your approval on this revision. We are still installing a firewall between the office and storage area.

We asked the local Fire Marshall (Chris Kaufmann) to do a courtesy inspection and he agreed that the firewall next to the property line could be eliminated. He asked to get approval from you for his files so that when the final Fire Marshall inspection is called for it will be on file. 

Please call me with any question you may have.

Thank you,

Chuck Dammon

VP/Project Manager

