September 8, 2003

Attn: Kirt Pichon

City Of Slidell

P.O. Box 828

Slidell, LA. 70458

RE: Discovery Apartments

Dear Mr. Pichon

We are using two layers of 5/8” sheet rock in between the trusses, which complies with the Gypsum Association Fire Test FMFC 172,2-25-72:GA File No. RC2601. 

Please call me with any questions that you may have.

Thank you,

Chuck Dammon

VP

