January 5, 2004

Mr. Jamar Gardner

Office of State Fire Marshal 

Department of Public Safety and Corrections

7919 Independence Boulevard

Baton Rouge, Louisiana 70806

RE: Lake View Square

       P0265490

Dear Mr. Gardner

We are asking to eliminate one door in the elevator lobby. The lobby is enclosed all around by a one-hour firewall. This door is basically a nuisance for quick passage to the exterior. Please see the attached sketch. 

Please call me with any question you may have.

Thank you,

Chuck Dammon

VP/Project Manager

