St. Tammany Parish

Department Of Permits & Inspections

P. O. Box 628

Covington, LA  70434

Phone: (985) 898-2574

June 24, 2021

St Tammany Parish is currently following the 2015 IRC chapter 9 for roof assemblies. All assemblies must be designed for 130 mph wind speeds. Listed below are some of the most overlooked sections.

R905 Roof coverings shall be applied in accordance with this code and the manufacturer’s installation instructions. Including but not limited to fastening, starter strips, hips, valleys

and ridges.

Kenny Wortmann

Director, CBO, CFM

Department of Permits & Inspections

St Tammany Parish Government