       


 STRUCTURAL INSPECTION

September 18, 2002
Type: Commercial

For: Lori Benasco & Julian Brignac

       1922 Corporate Sq. Suite C

       Slidell, La. 70458

Re: Structural Inspection

History: 

The subject is a raised wood frame building with brick siding on a chain wall. The purchaser wanted an engineer’s opinion on this.

Findings:

It was noted that there are cracks in the rear sides and back of the exterior brick of building. There were several cracks noted in the interior rear section of the building in the ceilings and walls. In looking in the attic of the building it was noted that the brick walls are not tied into the stud walls for proper support. Also the floors through out the building are not level indicating that the footings have settled. 

Upon a brief inspection of the electrical in the rear of building was noted that the electrical box is a fuse panel. Several places in the ceilings and walls are water stained indicating the roof is leaking.

Analysis:

These are some of the problems with this building. We recommend a contractor walk through the building and give you suggestions on how to make these repairs. 

