       


 STRUCTURAL INSPECTION

November 8, 2002

Type:
Residential

For:
Robert & Vickie Martinson

811 Montmartre

Mandeville, La 70448

History:

The home is wood frame construction on a cinder block foundation. The square footage is approximately 1,800 sq. ft. and approximately 18 years old. The home is experiencing some settling. The Martinson’s contacted me to evaluate the construction estimates that have been collected for re-leveling of the home.

Findings:

Upon inspection I was able to confirm the settling that is acquiring in the front hallway and in the rear of the home. Also there are very noticeable cracks in the sheet rock above the doors.

Conclusion:

It is my professional opinion that two of the three bidders are very reputable. 

A1 Home Remodeling and E.C.O. Builders both have a long History of being very professional in their construction procedures. I would also like to recommend that any roofing repairs or new roofs are installed after the house is leveled. Any trees or tree roots that are within 10ft of the home need to be removed and back filled to prevent any foundation movement.

