       


 STRUCTURAL INSPECTION

October 25, 2002

Type: Residential

For: Jim Goff

        212 Chantilly Loop

        Pearl River, La. 70452

Re: Structural Home Inspection

      Lake Village

      819 Amber Court

      Slidell, La. 

History: 

The home is approximately 22 years old. It is a wood frame with brick siding on a concrete foundation. The owner has listed the house for sale and has a purchaser that wants to buy the house. The purchaser had the home inspected and the inspector found evidence of the house that was partially burned in the attic. The owner wanted an engineer’s opinion on this.

Findings:

It was noted that in the attic over the hallway and near the living room the wood roof joist (approx. 7) and some supports (approx. 3) are partially damaged due to fire.

Also due to the fire the insulation in the attic in that area is damaged and must be replaced.

Analysis:

A contractor needs to be hired and the repairs made to make this a structurally sound home.  

