07-02-03

ECM Consultants, Inc.

Engineering & Construction Management Consultants

4441 North I-10 Service Rd. West, Suite 200

Metairie, La. 70006
RE: Stella Worley Junior High School 

       Jefferson Parish School Board

       Aluminum Window Wall System

To Whom It May Concern:

I have reviewed the plans designed for the Stella Worley School. The aluminum window wall system including doors frames and glazing comply with the wind load requirements of 110 miles/hr as required by the Standard Building Code 1977 Edition.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796
