Chris Schneider

Youth Center

1321 Gause Blvd. Suite 3

Slidell, La. 70458

8130 Sq. ft. x $1.00 square ft.

Our usual verbiage………………….. 

Check A/C for new loads

Design the required amount of toilets and walls per the plumbing code

Remove and ad new lighting and power for the two areas

Design new exterior walls in the front area

Design new exit doors per Fire Marshall requirements

Design new exit signs and emergency lights per Fire Marshall requirements

Design new canopy entrance

