Hibachi Table Hoods -  250 cfm additional makeup air per unit (5ea.) = 1250 cfm

Original Hood System - 750 cfm additional makeup air per unit (2ea) = 1500 cfm

Heat sources


Deep Fry 

- 105,000 BTU/h (2 ea)


Griddle   

-    30,000 BTU/h (1 ea)


Stove       

-  155,000 BTU/h (1 ea)


Chinese Stove  
-  220,000 BTU/h (1 ea)


Hibachi

-                BTU/h  (5 ea)


Total Heat Source


