October 15, 2004

Mr. Frank B. Stritzinger

Core Construction Company, LLC.

P.O. Box 8891

Metairie, LA  70011-8891

RE:
Dinelli Center

Dear Mr. Stritzinger,

Following are answers to your letters dated October 14, 2003 and October 15, 2003:
From letter dated October 14
1) Please provide specifications for the toilet accessories, wood fence, cast stone and acoustical ceiling.

2) Please provide light fixture schedule and light pole foundation detail.

3) Drawing C-2 does not indicate any sod or hydro-mulch, please advise.

4) Please provide details for plaster pediments and crown shown on building elevations on sheet A-3.

5) Will the covered walk have a slope, if so how will this work with the 5’x5’ level pad at each entrance?

6) Detail H S1/S1 does not correspond to the plan view which shows the tendons going completely across the slab.

7) Does the built up concrete wall follow the entire rear property 385 LNFT or just behind the length of the building 201 LNFT?

8) Drawing A-1 indicates a 1 HR wall above the soffit, is this correct?

9) Provide door and hardware schedule for toilet room doors.

10) Provide specification for 24x24 decorative scuttle access.

From Letter dated October 15
1) What is the finish for the exterior rear masonry wall?

2) What is the strength of concrete for the parking lot?

3) What is the lintel size at the rear doors?

4) Please identify expansion and contraction joint on paving plan sheet C-3.

5) Is monument sign shown on sheet C-2 part of this project, if so please provide details.

If you should have any further questions, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager
