Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

May 19, 2005

Mr. Kirk Pichon

Department of Building Safety

2056 Second Street

Slidell, La 70458

RE:  
Christian Community Church


Location: 1460 W. Lindburg Dr.

Dear Mr. Pichon, 

The project cover page was inadvertently labeled as following the International Building Code.   Please be advised that this project will follow the Standard Building Code, the construction will be “Type V Construction” unprotected, unsprinkled.  Occupancy under SBC is Group A-2.

Sincerely,

David Dammon

Project Manager

