ST. TAMMANY FIRE PROTECTION DISTRICT NO. 1

FIRE STATION #10

2745 LAKESHORE VISTA BLVD

SLIDELL, LA 70461


SECTION 312000

EARTH MOVING
Copyright 2002, The American Institute of Architects (AIA)

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:
Adjust list below to suit Project.
1. Preparing subgrades for slabs-on-grade, walks, pavements and lawns and grasses.

2. Excavating and backfilling for buildings and structures.

3. Drainage course for slabs-on-grade.

4. Subbase course for concrete walks and pavements.

5. Subsurface drainage backfill for walls and trenches.

6. Excavating and backfilling for utility trenches.

7. Excavating and backfilling trenches for buried mechanical and electrical utilities and pits for buried utility structures.

1.3 DEFINITIONS
Retain definitions that remain after this Section has been edited.  Revise to suit office or local earthwork practices.
A. Backfill:  Soil material or controlled low-strength material used to fill an excavation.

1. Initial Backfill:  Backfill placed beside and over pipe in a trench, including haunches to support sides of pipe.

2. Final Backfill:  Backfill placed over initial backfill to fill a trench.

B. Bedding Course:  Course placed over the excavated subgrade in a trench before laying pipe.

C. Borrow Soil:  Satisfactory soil imported from off-site for use as fill or backfill.
Revise heading in first paragraph below to read "Capillary Water Barrier" or a similar title if required.
D. Drainage Course:  Course supporting the slab-on-grade that also minimizes upward capillary flow of pore water.

E. Excavation:  Removal of material encountered above subgrade elevations and to lines and dimensions indicated.

1. Authorized Additional Excavation:  Excavation below subgrade elevations or beyond indicated lines and dimensions as directed by Architect.  Authorized additional excavation and replacement material will be paid for according to Contract provisions for unit prices.

2. Unauthorized Excavation:  Excavation below subgrade elevations or beyond indicated lines and dimensions without direction by Architect.  Unauthorized excavation, as well as remedial work directed by Architect, shall be without additional compensation.

F. Fill:  Soil materials used to raise existing grades.

G. Structures:  Buildings, footings, foundations, retaining walls, slabs, tanks, curbs, mechanical and electrical appurtenances, or other man-made stationary features constructed above or below the ground surface.

H. Subbase Course:  Course placed between the subgrade and base course for hot-mix asphalt pavement, or course placed between the subgrade and a cement concrete pavement or a cement concrete or hot-mix asphalt walk.

I. Subgrade:  Surface or elevation remaining after completing excavation, or top surface of a fill or backfill immediately below subbase, drainage fill, or topsoil materials.

J. Utilities:  On-site underground pipes, conduits, ducts, and cables, as well as underground services within buildings.

1.4 SUBMITTALS
Retain only those Submittals required for Project.
A. Product Data:  For the following:

1. Each type of plastic warning tape.

2. Geotextile.

3. Controlled low-strength material, including design mixture.

B. Samples:  12-by-12-inch Sample of  geotextile.
Delete test reports below if not required.
C. Material Test Reports:  From a qualified testing agency indicating and interpreting test results for compliance of the following with requirements indicated:
Omit classification and compaction curve of on-site soil if geotechnical report will suffice.
1. Classification according to ASTM D 2487 of each on-site and borrow soil material proposed for fill and backfill.

2. Laboratory compaction curve according to ASTM D 698 for each on-site and borrow soil material proposed for fill and backfill.

D. Pre-excavation Photographs or Videotape:  Show existing conditions of adjoining construction and site improvements, including finish surfaces, that might be misconstrued as damage caused by earthwork operations.  Submit before earthwork begins.

1.5 QUALITY ASSURANCE
Retain paragraph below if Contractor selects agency for rock-definition testing.
A. Geotechnical Testing Agency Qualifications:  An independent testing agency qualified according to ASTM E 329 to conduct soil materials, as documented according to ASTM D 3740 and ASTM E 548.
Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preexcavation conference.  If retaining, coordinate with and insert agenda items below that are not listed in Division 1.
B. Pre-excavation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.6 PROJECT CONDITIONS
Delete first paragraph and subparagraphs below if no existing utilities.  Coordinate with requirements specified in Division 1 Section "Temporary Facilities and Controls" for temporary utilities.
A. Existing Utilities:  Do not interrupt utilities serving facilities occupied by Owner or others unless permitted in writing by Architect and then only after arranging to provide temporary utility services according to requirements indicated.
Edit first subparagraph below to suit Project.
1. Notify Architect not less than two days in advance of proposed utility interruptions.

2. Do not proceed with utility interruptions without Architect's written permission.

3. Contact utility-locator service for area where Project is located before excavating.

B. Demolish and completely remove from site existing underground utilities indicated to be removed.  Coordinate with utility companies to shut off services if lines are active.

PART 2 -  PRODUCTS

2.1 SOIL MATERIALS

A. General:  Provide borrow soil materials when sufficient satisfactory soil materials are not available from excavations.
Revise two paragraphs and associated subparagraph below and identify soil materials according to geotechnical engineer's written recommendations.  Revise soil groups and size of stone to suit Project.  Add liquid limit and plasticity index if further qualifying satisfactory soil groups.  Most soils are classified according to ASTM D 2487.  Heavy civil or highway projects may use AASHTO M 145.
B. Satisfactory Soils:  Provide in accordance with Geotechnical Engineering Report and with a maximum dimension of 3 inches; free of debris, waste, frozen materials, vegetation, and other deleterious matter.

C. Unsatisfactory Soils:  Soil Classification Groups that are not in accordance with Geotechnical Engineering Report.

1. Unsatisfactory soils also include satisfactory soils not maintained within 2 percent of optimum moisture content at time of compaction.
Terms, descriptions, and gradations of granular soil materials in paragraphs below are examples only.  Revise to comply with local practices and to suit Project.  For example, granular materials may be referenced by state or local highway designations rather than by ASTM classifications.
D. Subbase Material:  Naturally or artificially graded mixture of natural or crushed gravel, crushed stone, and natural or crushed sand; ASTM D 2940; with at least 90 percent passing a 1-1/2-inch sieve and not more than 12 percent passing a No. 200 sieve.

E. Base Course:  Naturally or artificially graded mixture of natural or crushed gravel, crushed stone, and natural or crushed sand; ASTM D 2940; with at least 95 percent passing a 1-1/2-inch sieve and not more than 8 percent passing a No. 200 sieve.

F. Engineered Fill:  Naturally or artificially graded mixture of natural or crushed gravel, crushed stone, and natural or crushed sand; ASTM D 2940; with at least 90 percent passing a 1-1/2-inch sieve and not more than 12 percent passing a No. 200 sieve.

G. Bedding Course:  Naturally or artificially graded mixture of natural or crushed gravel, crushed stone, and natural or crushed sand; ASTM D 2940; except with 100 percent passing a 1-inch sieve and not more than 8 percent passing a No. 200 sieve.

H. Drainage Course:  Narrowly graded mixture of washed or crushed stone, or crushed or uncrushed gravel; ASTM D 448; coarse-aggregate grading Size 57; with 100 percent passing a 1-1/2-inch sieve and 0 to 5 percent passing a No. 8 sieve.

I. Filter Material:  Narrowly graded mixture of natural or crushed gravel, or crushed stone and natural sand; ASTM D 448; coarse-aggregate grading Size 67; with 100 percent passing a 1-inch sieve and 0 to 5 percent passing a No. 4 sieve.

J. Sand:  ASTM C 33; fine aggregate, natural, or manufactured sand.

K. Impervious Fill:  Clayey gravel and sand mixture capable of compacting to a dense state.

2.2 GEOTEXTILES
Retain paragraph below if nonwoven geotextile is used in subsurface drainage applications.  Performance requirements in AASHTO M 288 have been widely adopted by geotextile manufacturers and are repeated below.  The geotechnical report may also include geotextile recommendations.  See Evaluations for list of geotextile manufacturers.
A. Subsurface Drainage Geotextile:  Nonwoven needle-punched geotextile, manufactured for subsurface drainage applications, made from polyolefins or polyesters; with elongation greater than 50 percent; complying with AASHTO M 288 and the following, measured per test methods referenced:
Retain subparagraph below if AASHTO M 288 survivability classification is required.  Survivability rates a geotextile's ability to withstand installation stresses and is divided into 3 classes by AASHTO M 288.  Survivability measures grab, seam, tear, and puncture strength.  Class 2 is the default class recommended by AASHTO M 288 for subsurface drainage applications.  Revise to Class 1 if higher strength is required or Class 3 if lower strength is permitted.
1. Survivability:  Class 2; AASHTO M 288.
Retain subparagraph above or four subparagraphs below.  Strength values below correspond to AASHTO M 288 Survivability Class 2 for subsurface drainage applications.  Revise if other strength values are required.
2. Grab Tensile Strength:  157 lbf; ASTM D 4632.

3. Sewn Seam Strength:  142 lbf; ASTM D 4632.

4. Tear Strength:  56 lbf; ASTM D 4533.

5. Puncture Strength:  56 lbf; ASTM D 4833.
AASHTO M 288 bases selection of apparent opening size for subsurface drainage geotextiles on percentages of backfill soils passing a No. 200 (0.075-mm) sieve.  First option in subparagraph below corresponds to less than 15 percent; second, to 15 to 50 percent; and third, to greater than 50 percent for Class 2 geotextiles.
6. Apparent Opening Size:  No. 40 sieve, maximum; ASTM D 4751.
AASHTO M 288 bases selection of permittivity for subsurface drainage geotextiles on percentages of backfill soils passing a No. 200 (0.075-mm) sieve.  First option in subparagraph below corresponds to less than 15 percent; second, to 15 to 50 percent; and third, to greater than 50 percent for Class 2 geotextiles.
7. Permittivity:  0.5 per second, minimum; ASTM D 4491.
Requirement in subparagraph below corresponds to default value in AASHTO M 288 for Class 2 subsurface drainage geotextiles.
8. UV Stability:  50 percent after 500 hours' exposure; ASTM D 4355.
Retain paragraph and subparagraphs below if a separation geotextile is required.  A typical use is to separate subgrade from granular soil materials such as subbase, base, or engineered fill.  The geotechnical report may also include geotextile recommendations.  See Evaluations for list of geotextile manufacturers.
B. Separation Geotextile:  Woven geotextile fabric, manufactured for separation applications, made from polyolefins or polyesters; with elongation less than 50 percent; complying with AASHTO M 288 and the following, measured per test methods referenced:
Survivability rates a geotextile's ability to withstand installation stresses and is divided into 3 classes by AASHTO M 288.  Survivability measures grab, seam, tear, and puncture strength.  Class 2 is the default class recommended by AASHTO M 288 for separation geotextile applications.
1. Survivability:  Class 2; AASHTO M 288.
Retain subparagraph above or four subparagraphs below.  Strength values below correspond to AASHTO M 288 Survivability Class 2 for separation geotextile applications.  Revise if other strength values are required.
2. Grab Tensile Strength:  247 lbf; ASTM D 4632.

3. Sewn Seam Strength:  222 lbf; ASTM D 4632.

4. Tear Strength:  90 lbf; ASTM D 4533.

5. Puncture Strength:  90 lbf; ASTM D 4833.
Requirements in three subparagraphs below correspond to default values in AASHTO M 288 for Class 2 separation geotextiles.
6. Apparent Opening Size:  No. 60 sieve, maximum; ASTM D 4751.

7. Permittivity:  0.02 per second, minimum; ASTM D 4491.

8. UV Stability:  50 percent after 500 hours' exposure; ASTM D 4355.

2.3 CONTROLLED LOW-STRENGTH MATERIAL

A. Controlled Low-Strength Material:  Low-density, self-compacting, flowable concrete material as follows:

1. Portland Cement:  ASTM C 150, Type I, II, or III.

2. Fly Ash:  ASTM C 618, Class C or F.

3. Normal-Weight Aggregate:  ASTM C 33.
Retain first subparagraph below if low-density, controlled low-strength material is required.
4. Foaming Agent:  ASTM C 869.

5. Water:  ASTM C 94/C 94M.
Delete subparagraph below for low-density, controlled low-strength material using foaming agent.
6. Air-Entraining Admixture:  ASTM C 260.

2.4 ACCESSORIES
Delete warning tapes in this Article if not required.  Use may be mandatory for underground hazardous utilities.

Warning Tape:  Acid- and alkali-resistant polyethylene film warning tape manufactured for marking and identifying underground utilities, 6 inches wide and 4 milsSelect paragraph above or below and revise description, if required, to suit Project.  Retain both and indicate on Drawings where each tape is required.
A. Detectable Warning Tape:  Acid- and alkali-resistant polyethylene film warning tape manufactured for marking and identifying underground utilities, a minimum of 6 inches wide and 4 mils thick, continuously inscribed with a description of the utility, with metallic core encased in a protective jacket for corrosion protection, detectable by metal detector when tape is buried up to 30 inches deep; colored as follows:
Revise colors below to comply with local practice or requirements of authorities having jurisdiction.
1. Red:  Electric.

2. Yellow:  Gas, oil, steam, and dangerous materials.

3. Orange:  Telephone and other communications.

4. Blue:  Water systems.

5. Green:  Sewer systems.

PART 3 -  EXECUTION

3.1 PREPARATION

A. Protect structures, utilities, sidewalks, pavements, and other facilities from damage caused by settlement, lateral movement, undermining, washout, and other hazards created by earthwork operations.

B. Preparation of subgrade for earthwork operations including removal of vegetation, topsoil, debris, obstructions, and deleterious materials from ground surface is specified in Division 2 Section "Site Clearing."

C. Protect and maintain erosion and sedimentation controls, which are specified in Division 2 Section "Site Clearing," during earthwork operations.
Delete paragraph below if not applicable.
D. Provide protective insulating materials to protect subgrades and foundation soils against freezing temperatures or frost.

3.2 DEWATERING

A. Prevent surface water and ground water from entering excavations, from ponding on prepared subgrades, and from flooding Project site and surrounding area.

B. Protect subgrades from softening, undermining, washout, and damage by rain or water accumulation.

1. Reroute surface water runoff away from excavated areas.  Do not allow water to accumulate in excavations.  Do not use excavated trenches as temporary drainage ditches.

2. Install a dewatering system, specified in Division 2 Section "Dewatering," to keep subgrades dry and convey ground water away from excavations.  Maintain until dewatering is no longer required.

3.3 EXPLOSIVES

A. Explosives:  Do not use explosives.

3.4 EXCAVATION, GENERAL
Retain paragraph and subparagraphs below if excavation is unclassified and no changes in the Contract Sum or the Contract Time will be authorized for rock excavation.
A. Unclassified Excavation:  Excavate to subgrade elevations regardless of the character of surface and subsurface conditions encountered.  Unclassified excavated materials may include rock, soil materials, and obstructions.  No changes in the Contract Sum or the Contract Time will be authorized for rock excavation or removal of obstructions.

1. If excavated materials intended for fill and backfill include unsatisfactory soil materials and rock, replace with satisfactory soil materials.

Delete paragraph and subparagraphs above and retain paragraph and subparagraphs below if excavation is classified and adjustments in the Contract Sum and, if applicable, the Contract Time will be authorized for rock excavation.  See Evaluations for further discussion.
B. Classified Excavation:  Excavate to subgrade elevations.  Material to be excavated will be classified as earth.
Revise description in first subparagraph below if removal of surface features and underground utility structures is specified in Division 2 Section "Building Demolition" or "Site Clearing."
1. Earth excavation includes excavating pavements and obstructions visible on surface; underground structures, utilities, and other items indicated to be removed; together with soil, boulders, and other materials not classified as rock or unauthorized excavation.

3.5 EXCAVATION FOR STRUCTURES
Revise tolerances in this Article to suit office practice if applicable.
A. Excavate to indicated elevations and dimensions within a tolerance of plus or minus 1 inch.  If applicable, extend excavations a sufficient distance from structures for placing and removing concrete formwork, for installing services and other construction, and for inspections.
Revise subparagraph below if footings and foundations are placed on engineered fill.
1. Excavations for Footings and Foundations:  Do not disturb bottom of excavation.  Excavate by hand to final grade just before placing concrete reinforcement.  Trim bottoms to required lines and grades to leave solid base to receive other work.

2. Excavation for Underground Tanks, Basins, and Mechanical or Electrical Utility Structures:  Excavate to elevations and dimensions indicated within a tolerance of plus or minus 1 inch.  Do not disturb bottom of excavations intended as bearing surfaces.

3.6 EXCAVATION FOR WALKS AND PAVEMENTS

A. Excavate surfaces under walks and pavements to indicated lines, cross sections, elevations, and subgrades.

3.7 EXCAVATION FOR UTILITY TRENCHES
Revise this Article to suit Project.  Coordinate with utility Sections in other Divisions.
A. Excavate trenches to indicated gradients, lines, depths, and elevations.

1. Beyond building perimeter, excavate trenches to allow installation of top of pipe below frost line.

B. Excavate trenches to uniform widths to provide the following clearance on each side of pipe or conduit.  Excavate trench walls vertically from trench bottom to 12 inches higher than top of pipe or conduit, unless otherwise indicated.
Retain, revise, or delete subparagraph below to suit Project.
1. Clearance:  12 inches each side of pipe or conduit.
Select one of two "Trench Bottoms" paragraphs and associated subparagraphs below.  Revise to suit Project, requirements of authorities having jurisdiction, type of pipe or conduit, and manufacturer's installation requirements.
C. Trench Bottoms:  Excavate and shape trench bottoms to provide uniform bearing and support of pipes and conduit.  Shape subgrade to provide continuous support for bells, joints, and barrels of pipes and for joints, fittings, and bodies of conduits.  Remove projecting stones and sharp objects along trench subgrade.

1. For pipes and conduit less than 6 inches in nominal diameter and flat-bottomed, multiple-duct conduit units, hand-excavate trench bottoms and support pipe and conduit on an undisturbed subgrade.

2. For pipes and conduit 6 inches or larger in nominal diameter, shape bottom of trench to support bottom 90 degrees of pipe circumference.  Fill depressions with tamped sand backfill.
Delete paragraph and subparagraphs above and retain paragraph and subparagraph below if a bedding course is required under pipe.
D. Trench Bottoms:  Excavate trenches 4 inches deeper than bottom of pipe elevation to allow for bedding course.  Hand excavate for bell of pipe.

3.8 SUBGRADE INSPECTION

A. Notify Architect when excavations have reached required subgrade.

B. If Geotechnical Testing Agency determines that unsatisfactory soil is present, continue excavation and replace with compacted backfill or fill material as directed.
Revise locations for proof-rolling in paragraph below if required.
C. Proof-roll subgrade below the building slabs and pavements with heavy pneumatic-tired equipment to identify soft pockets and areas of excess yielding.  Do not proof-roll wet or saturated subgrades.

1. Completely proof-roll subgrade in one direction, repeating proof-rolling in direction perpendicular to first direction  Limit vehicle speed to 3 mph.
Revise minimum weight or type of vehicle in first subparagraph below if required.
2. Proof-roll with a loaded 10-wheel, tandem-axle dump truck weighing not less than 15 tons.

3. Excavate soft spots, unsatisfactory soils, and areas of excessive pumping or rutting, as determined by Architect, and replace with compacted backfill or fill as directed.

D. Authorized additional excavation and replacement material will be paid for according to Contract provisions for unit prices.

E. Reconstruct subgrades damaged by freezing temperatures, frost, rain, accumulated water, or construction activities, as directed by Architect, without additional compensation.

3.9 UNAUTHORIZED EXCAVATION
Revise this Article to suit Project.
A. Fill unauthorized excavation under foundations or wall footings by extending bottom elevation of concrete foundation or footing to excavation bottom, without altering top elevation.  Lean concrete fill, with 28-day compressive strength of 2500 psi, may be used when approved by Architect.

1. Fill unauthorized excavations under other construction or utility pipe as directed by Architect.

3.10 STORAGE OF SOIL MATERIALS

A. Stockpile borrow soil materials and excavated satisfactory soil materials without intermixing.  Place, grade, and shape stockpiles to drain surface water.  Cover to prevent windblown dust.

1. Stockpile soil materials away from edge of excavations.  Do not store within drip line of remaining trees.

3.11 BACKFILL

A. Place and compact backfill in excavations promptly, but not before completing the following:
Delete or revise subparagraphs below to suit Project.
1. Construction below finish grade including, where applicable, subdrainage, dampproofing, waterproofing, and perimeter insulation.

2. Surveying locations of underground utilities for Record Documents.

3. Testing and inspecting underground utilities.

4. Removing concrete formwork.

5. Removing trash and debris.

6. Removing temporary shoring and bracing, and sheeting.

7. Installing permanent or temporary horizontal bracing on horizontally supported walls.

B. Place backfill on subgrades free of mud, frost, snow, or ice.

3.12 UTILITY TRENCH BACKFILL

A. Place backfill on subgrades free of mud, frost, snow, or ice.

B. Place and compact bedding course on trench bottoms and where indicated.  Shape bedding course to provide continuous support for bells, joints, and barrels of pipes and for joints, fittings, and bodies of conduits.
Revise dimensions or extent of concrete backfill in first paragraph below to suit Project.
C. Backfill trenches excavated under footings and within 18 inches of bottom of footings with satisfactory soil; fill with concrete to elevation of bottom of footings.  Concrete is specified in Division 3 Section "Cast-in-Place Concrete."

D. Provide 4-inch- thick, concrete-base slab support for piping or conduit less than 30 inches below surface of roadways.  After installing and testing, completely encase piping or conduit in a minimum of 4 inches of concrete before backfilling or placing roadway subbase.
Delete paragraph and subparagraph below if specifying controlled low-strength material as initial backfill.  If retaining, revise maximum particle size to suit type of pipe or conduit.
E. Place and compact initial backfill of subbase material or satisfactory soil, free of particles larger than 1 inch in any dimension, to a height of 12 inches over the utility pipe or conduit.

1. Carefully compact initial backfill under pipe haunches and compact evenly up on both sides and along the full length of utility piping or conduit to avoid damage or displacement of piping or conduit.  Coordinate backfilling with utilities testing.
Retain first paragraph below if controlled low-strength material is permitted or required as initial backfill instead of a soil material in paragraph above.
F. Controlled Low-Strength Material:  Place initial backfill of controlled low-strength material to a height of 12 inches over the utility pipe or conduit.

G. Backfill voids with satisfactory soil while installing and removing shoring and bracing.

H. Place and compact final backfill of satisfactory soil to final subgrade elevation.
Retain paragraph below if controlled low-strength material is permitted or required as final backfill instead of satisfactory soil in paragraph above.
I. Controlled Low-Strength Material:  Place final backfill of controlled low-strength material to final subgrade elevation.
Revise tape depths in paragraph below to suit office practice if applicable.
J. Install warning tape directly above utilities, 12 inches below finished grade, except 6 inches below subgrade under pavements and slabs.

3.13 SOIL FILL

A. Plow, scarify, bench, or break up sloped surfaces steeper than 1 vertical to 4 horizontal so fill material will bond with existing material.

B. Place and compact fill material in layers to required elevations as follows:
Delete subparagraphs below not required.  Revise soil materials to suit Project.  Other soil materials, such as a drainage course or subbase or base courses, may still be required over fill.
1. Under grass and planted areas, use satisfactory soil material.

2. Under walks and pavements, use satisfactory soil material.

3. Under steps and ramps, use engineered fill.

4. Under building slabs, use engineered fill.
Retain subparagraph below if backfill or fill beneath footings and foundations is required.  Coordinate material selection with geotechnical engineer's written recommendations.
5. Under footings and foundations, use engineered fill.

C. Place soil fill on subgrades free of mud, frost, snow, or ice.

3.14 SOIL MOISTURE CONTROL
Revise percentage in paragraph and second subparagraph below according to geotechnical engineer's written recommendations.
A. Uniformly moisten or aerate subgrade and each subsequent fill or backfill soil layer before compaction to within 2 percent of optimum moisture content.

1. Do not place backfill or fill soil material on surfaces that are muddy, frozen, or contain frost or ice.

2. Remove and replace, or scarify and air dry otherwise satisfactory soil material that exceeds optimum moisture content by 2 percent and is too wet to compact to specified dry unit weight.

3.15 COMPACTION OF SOIL BACKFILLS AND FILLS
Revise depth of layers in first paragraph below to suit Project.
A. Place backfill and fill soil materials in layers not more than 8 inchesin loose depth for material compacted by heavy compaction equipment, and not more than 4 inches in loose depth for material compacted by hand-operated tampers.

B. Place backfill and fill soil materials evenly on all sides of structures to required elevations, and uniformly along the full length of each structure.
Select option in paragraph below based on ASTM test method required.  Replace the term "unit weight" with "density" if preferred.
C. Compact soil materials to not less than the following percentages of maximum dry unit weight according to [ASTM D 698] [ASTM D 1557]:
Retain applicable subparagraphs below.  Percentages of maximum dry unit weight are examples only; revise to suit Project.  Delete scarifying and recompacting existing subgrade when proof-rolling will suffice.
1. Under structures, building slabs, steps, and pavements, scarify and recompact top 12 inches of existing subgrade and each layer of backfill or fill soil material at 95 percent.

2. Under walkways, scarify and recompact top 6 inches below subgrade and compact each layer of backfill or fill soil material at 92 percent.

3. Under lawn or unpaved areas, scarify and recompact top 6 inches below subgrade and compact each layer of backfill or fill soil material at 85 percent.

4. For utility trenches, compact each layer of initial and final backfill soil material at 85 percent.

3.16 GRADING

A. General:  Uniformly grade areas to a smooth surface, free of irregular surface changes.  Comply with compaction requirements and grade to cross sections, lines, and elevations indicated.

1. Provide a smooth transition between adjacent existing grades and new grades.

2. Cut out soft spots, fill low spots, and trim high spots to comply with required surface tolerances.

B. Site Grading:  Slope grades to direct water away from buildings and to prevent ponding.  Finish subgrades to required elevations within the following tolerances:
Revise subparagraphs below to suit Project.
1. Lawn or Unpaved Areas:  Plus or minus 1 inch.

2. Walks:  Plus or minus 1 inch.

3. Pavements:  Plus or minus 1/2 inch.

C. Grading inside Building Lines:  Finish subgrade to a tolerance of 1/2 inch when tested with a 10-foot straightedge.

3.17 SUBSURFACE DRAINAGE
Retain paragraphs below describing subdrainage conditions as required.  Revise particulars to coordinate with Drawings.
A. Subdrainage Pipe:  Specified in Division 2 Section "Storm Drainage."

B. Subsurface Drain:  Place subsurface drainage geotextile around perimeter of subdrainage trench.  Place a 6-inch course of filter material on subsurface drainage geotextile to support subdrainage pipe.  Encase subdrainage pipe in a minimum of 12 inches of filter material, placed in compacted layers 6 inches thick, and wrap in subsurface drainage geotextile, overlapping sides and ends at least 6 inches.
Retain one of two options in subparagraph below if compaction of filter material is required.  In first option, revise percentage if required.
1. Compact each filter material layer to 85 percent of maximum dry unit weight according to ASTM D 698 with a minimum of two passes of a plate-type vibratory compactor.
Retain "Subsurface Drain" Paragraph above if retaining "Drainage Backfill" Paragraph below.  Delete paragraph and subparagraphs below if not using free-draining granular backfill against walls.
C. Drainage Backfill:  Place and compact filter material over subsurface drain, in width indicated, to within 12 inches of final subgrade, in compacted layers 6 inches thick.  Overlay drainage backfill with 1 layer of subsurface drainage geotextile, overlapping sides and ends at least 6 inches.
Retain one of two options in subparagraph below if compaction of filter material is required.  In first option, revise percentage if required.
1. Compact each filter material layer to 85 percent of maximum dry unit weight according to ASTM D 698 with a minimum of two passes of a plate-type vibratory compactor.
Revise subparagraph below according to geotechnical engineer's written recommendations or delete if no special impervious fill cap is required.
2. Place and compact impervious fill over drainage backfill in 6-inch thick compacted layers to final subgrade.

3.18 SUBBASE AND BASE COURSES

A. Place subbase and base course on subgrades free of mud, frost, snow, or ice.

B. On prepared subgrade, place subbase and base course under pavements and walks as follows:
Delete two subparagraphs below if not applicable.
1. Install separation geotextile on prepared subgrade according to manufacturer's written instructions, overlapping sides and ends.

2. Place base course material over subbase course under hot-mix asphalt pavement.
Retain option in four subparagraphs below if "and base" option is retained in paragraphs above.
3. Shape subbase and base course to required crown elevations and cross-slope grades.

4. Place subbase and base course 6 inches or less in compacted thickness in a single layer.

5. Place subbas and base course that exceeds 6 inches in compacted thickness in layers of equal thickness, with no compacted layer more than 6 inches thick or less than 3 inches thick.

6. Compact subbase and base course at optimum moisture content to required grades, lines, cross sections, and thickness to not less than 95 percent of maximum dry unit weight according to ASTM D 698.
Revise paragraph below to suit Project or delete if not applicable.
C. Pavement Shoulders:  Place shoulders along edges of subbase and base course to prevent lateral movement.  Construct shoulders, at least 12 inches wide, of satisfactory soil materials and compact simultaneously with each subbase and base layer to not less than 95 percent of maximum dry unit weight according to ASTM D 698.

3.19 DRAINAGE COURSE

A. Place drainage course on subgrades free of mud, frost, snow, or ice.

B. On prepared subgrade, place and compact drainage course under cast-in-place concrete slabs-on-grade as follows:
Retain applicable subparagraphs below.
1. Install subdrainage geotextile on prepared subgrade according to manufacturer's written instructions, overlapping sides and ends.

2. Place drainage course 6 inches or less in compacted thickness in a single layer.

3. Place drainage course that exceeds 6 inches in compacted thickness in layers of equal thickness, with no compacted layer more than 6 inches thick or less than 3 inches thick.
Revise percentage of compaction in subparagraph below and change compaction test from ASTM D 698 to ASTM D 4254 or ASTM D 1557 if required.  Replace the term "unit weight" with "density" if preferred.
4. Compact each layer of drainage course to required cross sections and thicknesses to not less than 95 percent of maximum dry unit weight according to ASTM D 698.

3.20 FIELD QUALITY CONTROL

A. Testing Agency:  Owner will engage a qualified independent geotechnical engineering testing agency to perform field quality-control testing.
Revise testing in paragraph below to suit Project or delete if not applicable.
B. Allow testing agency to inspect and test subgrades and each fill or backfill layer.  Proceed with subsequent earthwork only after test results for previously completed work comply with requirements.
Revise paragraph below to suit Project or delete if not applicable.  If retaining, add other field tests, such as California bearing ratio of subgrades, subbases, and bases for paving, if required.
C. Footing Subgrade:  At footing subgrades, at least one test of each soil stratum will be performed to verify design bearing capacities.  Subsequent verification and approval of other footing subgrades may be based on a visual comparison of subgrade with tested subgrade when approved by Architect.
Revise first paragraph below to suit Project.
D. Testing agency will test compaction of soils in place according to ASTM D 698, ASTM D 1556, ASTM D 2167, ASTM D 2922, and ASTM D 2937, as applicable.  Tests will be performed at the following locations and frequencies:
Frequencies of testing in subparagraphs below are examples only; revise to suit Project.
1. Paved and Building Slab Areas:  At subgrade and at each compacted fill and backfill layer, at least 1 test for every 2000 sq. ft. or less of paved area or building slab, but in no case fewer than 3 tests.

2. Foundation Wall Backfill:  At each compacted backfill layer, at least 1 test for each 100 feetor less of wall length, but no fewer than 2 tests.

3. Trench Backfill:  At each compacted initial and final backfill layer, at least 1 test for each 150 feet or less of trench length, but no fewer than 2 tests.

E. When testing agency reports that subgrades, fills, or backfills have not achieved degree of compaction specified, scarify and moisten or aerate, or remove and replace soil to depth required; recompact and retest until specified compaction is obtained.

3.21 PROTECTION

A. Protecting Graded Areas:  Protect newly graded areas from traffic, freezing, and erosion.  Keep free of trash and debris.

B. Repair and reestablish grades to specified tolerances where completed or partially completed surfaces become eroded, rutted, settled, or where they lose compaction due to subsequent construction operations or weather conditions.

1. Scarify or remove and replace soil material to depth as directed by Architect; reshape and recompact.

C. Where settling occurs before Project correction period elapses, remove finished surfacing, backfill with additional soil material, compact, and reconstruct surfacing.

1. Restore appearance, quality, and condition of finished surfacing to match adjacent work, and eliminate evidence of restoration to greatest extent possible.

3.22 DISPOSAL OF SURPLUS AND WASTE MATERIALS

A. Disposal:  Remove surplus satisfactory soil and waste material, including unsatisfactory soil, trash, and debris, and legally dispose of it off Owner's property.
Retain paragraph above or paragraph and subparagraph below.
B. Disposal:  Transport surplus satisfactory soil to designated storage areas on Owner's property.  Stockpile or spread soil as directed by Architect.

1. Remove waste material, including unsatisfactory soil, trash, and debris, and legally dispose of it off Owner's property.

END OF DOCUMENT  312000
EARTH MOVING

312000 - 14

