ST. TAMMANY FIRE PROTECTION DISTRICT NO. 1

FIRE STATION #10
2745 LAKESHORE VISTA BLVD
SLIDELL, LA 70461


Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA
SECTION 061600
SHEATHING
Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.
PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Wall sheathing.

2. Sheathing joint and penetration treatment.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of process and factory-fabricated product. Indicate component materials and dimensions and include construction and application details.

1. Include data for wood-preservative treatment from chemical treatment manufacturer and certification by treating plant that treated plywood complies with requirements.

2. Include data for fire-retardant treatment from chemical treatment manufacturer and certification by treating plant that treated plywood complies with requirements.

1.3 INFORMATIONAL SUBMITTALS

A. Evaluation Reports: For following products, from ICC-ES:
Revise list below to retain only those products retained in Part 2.
1. Preservative-treated plywood.

2. Fire-retardant-treated plywood.

3. Foam-plastic sheathing.

PART 2 -  PRODUCTS
See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."
2.1 PERFORMANCE REQUIREMENTS
Retain "Fire-Test-Response Characteristics" Paragraph below for fire-rated assemblies.
A. Fire-Test-Response Characteristics: For assemblies with fire-resistance ratings, provide materials and construction identical to those of assemblies tested for fire resistance per ASTM E 119 by a testing and inspecting agency acceptable to authorities having jurisdiction.
Indicate design designations of specific assemblies on Drawings.
1. Fire-Resistance Ratings: Indicated by design designations from UL's "Fire Resistance Directory." GA-600, "Fire Resistance Design Manual.".

2.2 PRESERVATIVE-TREATED PLYWOOD

A. Preservative Treatment by Pressure Process: AWPA U1; Use Category UC2 for interior construction, Use Category UC3b for exterior construction.

B. Mark plywood with appropriate classification marking of an inspection agency acceptable to authorities having jurisdiction.
Retain first option in "Application" Paragraph below and delete others if total treatment is required; otherwise, retain second option with or without third option.
C. Application: Treat items indicated on Drawings and plywood in contact with concrete or used with roofing, flashing, vapor barriers, and waterproofing.

2.3 FIRE-RETARDANT-TREATED PLYWOOD

A. General: Where fire-retardant-treated materials are indicated, use materials complying with requirements in this article that are acceptable to authorities having jurisdiction and with fire-test-response characteristics specified as determined by testing identical products per test method indicated by a qualified testing agency.

B. Fire-Retardant-Treated Plywood by Pressure Process: Products with a flame-spread index of 25 or less when tested according to ASTM E 84, and with no evidence of significant progressive combustion when the test is extended an additional 20 minutes, and with the flame front not extending more than 10.5 feet beyond the centerline of the burners at any time during the test.
Exterior type is suitable for both exterior and interior applications. Interior type is only for interior applications.
1. Exterior Type: Treated materials shall comply with requirements specified above for fire-retardant-treated plywood by pressure process after being subjected to accelerated weathering according to ASTM D 2898. Use for exterior locations and where indicated.

2. Interior Type A: Treated materials shall have a moisture content of 28 percent or less when tested according to ASTM D 3201 at 92 percent relative humidity. Use where exterior type is not indicated.
Retain option in "Design Value Adjustment Factors" Subparagraph below if applicable. Revise description of locations to suit Project. Verify adjustment factors with Project's structural engineer.
3. Design Value Adjustment Factors: Treated lumber plywood shall be tested according ASTM D 5516 and design value adjustment factors shall be calculated according to ASTM D 6305. Span ratings after treatment shall be not less than span ratings specified.  For roof sheathing and where high-temperature fire-retardant treatment is indicated, span ratings for temperatures up to 170 deg F shall be not less than span ratings specified.]

C. Kiln-dry material after treatment to a maximum moisture content of 15 percent.

D. Identify fire-retardant-treated plywood with appropriate classification marking of qualified testing agency.
Retain first option in "Application" Paragraph below if all wood is required to be fire-retardant treated; otherwise, retain second option.
E. Application: Fire Treat all plywood unless otherwise indicated or is Type V construction.

2.4 WALL SHEATHING

A. Cementitious Backer Units: ASTM C 1325, Type A.

1. Thickness: 5/8 inch.

2.5 ROOF SHEATHING
If retaining "Plywood Roof Sheathing" Paragraph below, retain one of four options. Structural I provides increased racking resistance. See Evaluations for information about durability classifications of plywood.
A. Plywood Roof Sheathing: Exterior, Structural I sheathing.
If retaining "Oriented-Strand-Board Roof Sheathing" Paragraph below, retain one of two options. Structural I provides increased racking resistance. See Evaluations for information about durability classifications of oriented strand board.
B. Oriented-Strand-Board Roof Sheathing: Exposure 1, Structural I sheathing.

2.6 SUBFLOORING AND UNDERLAYMENT
For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor. See Evaluations for information about durability classifications of plywood.

If retaining "Plywood Subflooring" Paragraph below, retain one of four options. Structural I provides increased racking resistance. For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor. See Evaluations for information about durability classifications of plywood.
A. Plywood Subflooring: Exterior single-floor panels or sheathing.
If retaining "Oriented-Strand-Board Subflooring" Paragraph below, retain one of two options. Structural I provides increased racking resistance. For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor. See Evaluations for information about durability classifications of oriented strand board.
2.7 FASTENERS

A. General: Provide fasteners of size and type indicated that comply with requirements specified in this article for material and manufacture.

1. For roof sheathing, provide fasteners with hot-dip zinc coating complying with ASTM A 153/A 153M.

2.8 SHEATHING JOINT-AND-PENETRATION TREATMENT MATERIALS
Retain "Sealant for (Paper-Surfaced) (Glass-Mat) Gypsum Sheathing" or "Sealant for Glass-Mat Gypsum Sheathing" paragraph below. Retain "Sealant for (Paper-Surfaced) (Glass-Mat) Gypsum Sheathing" Paragraph if sealant alone is required. Retain "Sealant for Glass-Mat Gypsum Sheathing" Paragraph for glass-mat gypsum sheathing with sealant and tape.
A. Sealant for Glass-Mat Gypsum Sheathing: Elastomeric, medium-modulus, neutral-curing silicone joint sealant compatible with joint substrates formed by gypsum sheathing and other materials, recommended by sheathing manufacturer for application indicated and complying with requirements for elastomeric sealants specified in Section 07920 "Joint Sealants."

B. Sealant for Glass-Mat Gypsum Sheathing: Silicone emulsion sealant complying with ASTM C 834, compatible with sheathing tape and sheathing and recommended by tape and sheathing manufacturers for use with glass-fiber sheathing tape and for covering exposed fasteners.
Product in "Sheathing Tape" Subparagraph below is an open mesh tape for use with sealant in "Sealant for Glass-Mat Gypsum Sheathing" Paragraph above.
1. Sheathing Tape: Self-adhering glass-fiber tape, minimum 2 inches wide, 10 by 10 or 10 by 20 threads/inch, of type recommended by sheathing and tape manufacturers for use with silicone emulsion sealant in sealing joints in glass-mat gypsum sheathing and with a history of successful in-service use.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Do not use materials with defects that impair quality of sheathing or pieces that are too small to use with minimum number of joints or optimum joint arrangement. Arrange joints so that pieces do not span between fewer than three support members.

B. Cut panels at penetrations, edges, and other obstructions of work; fit tightly against abutting construction unless otherwise indicated.

C. Securely attach to substrate by fastening as indicated, complying with the following:

1. NES NER-272 for power-driven fasteners.
Retain one of two subparagraphs below, with or without subparagraph above, to comply with requirements of Project and local codes.
2. Table 2304.9.1, "Fastening Schedule," in ICC's "International Building Code."

3. Table R602.3(1), "Fastener Schedule for Structural Members," and Table R602.3(2), "Alternate Attachments," in ICC's "International Residential Code for One- and Two-Family Dwellings."

D. Coordinate wall and roof  sheathing installation with flashing and joint-sealant installation so these materials are installed in sequence and manner that prevent exterior moisture from passing through completed assembly.

E. Do not bridge building expansion joints; cut and space edges of panels to match spacing of structural support elements.

3.2 WOOD STRUCTURAL PANEL INSTALLATION

A. General: Comply with applicable recommendations in APA Form No. E30, "Engineered Wood Construction Guide," for types of structural-use panels and applications indicated.

B. Fastening Methods: Fasten panels as indicated below:
Retain fastening methods as required. Coordinate with building code requirements.
1. Subflooring:

a. Glue and nail to wood framing.

b. Glue and screw to cold-formed metal framing.

c. Space panels 1/8 inch apart at edges and ends.

2. Wall and Roof Sheathing:
A continuous bead of glue applied to framing at edges of wall sheathing panels helps seal panel joints so sheathing functions as an air barrier.
a. Nail to wood framing. Apply a continuous bead of glue to framing members at edges of wall sheathing panels.

b. Glue and screw to cold-formed metal framing. Apply a continuous bead of glue to framing members at edges of wall sheathing panels.

c. Space panels 1/8 inch apart at edges and ends.

3.3 GYPSUM SHEATHING INSTALLATION

A. Comply with GA-253 and with manufacturer's written instructions.
Retain applicable subparagraph(s) below or insert requirements to suit Project.
1. Fasten gypsum sheathing to wood framing with screws.

2. Fasten gypsum sheathing to cold-formed metal framing with screws.

3. Install boards with a 3/8-inch gap where non-load-bearing construction abuts structural elements.

4. Install boards with a 1/4-inch gap where they abut masonry or similar materials that might retain moisture, to prevent wicking.
Retain paragraph below if joints are sealed in lieu of using a water-resistive barrier; verify requirements of authorities having jurisdiction.
B. Seal sheathing joints according to sheathing manufacturer's written instructions.

1. Apply elastomeric sealant to joints and fasteners and trowel flat. Apply sufficient amount of sealant to completely cover joints and fasteners after troweling. Seal other penetrations and openings.
Retain subparagraph above or subparagraph below if sealant is used with gypsum sheathing; coordinate with products retained in Part 2. Above is suitable for paper-surfaced or glass-mat gypsum sheathing. Below is suitable for glass-mat gypsum sheathing.
2. Apply glass-fiber sheathing tape to glass-mat gypsum sheathing joints and apply and trowel silicone emulsion sealant to embed entire face of tape in sealant. Apply sealant to exposed fasteners with a trowel so fasteners are completely covered. Seal other penetrations and openings.

3.4 CEMENTITIOUS BACKER UNIT INSTALLATION

A. Install panels and treat joints according to ANSI A108.11 and manufacturer's written instructions for type of application indicated.

3.5 FOAM-PLASTIC SHEATHING INSTALLATION

A. Comply with manufacturer's written instructions.

B. Foam-Plastic Wall Sheathing: Install vapor-relief strips or equivalent for permitting escape of moisture vapor that otherwise would be trapped in stud cavity behind sheathing.
Retain paragraph below for taping joints in foam-plastic sheathing.
C. Apply sheathing tape to joints between foam-plastic sheathing panels and at items penetrating sheathing. Apply at upstanding flashing to overlap both flashing and sheathing.

3.6 PARTICLEBOARD UNDERLAYMENT INSTALLATION

A. Comply with CPA's recommendations for type of subfloor indicated. Fill and sand gouges, gaps, and chipped edges. Sand uneven joints flush.
Insert specific nailing requirements to suit Project.
1. Fastening Method: Glue and nail underlayment to subflooring.

3.7 HARDBOARD UNDERLAYMENT INSTALLATION

A. Comply with CPA's recommendations and hardboard manufacturer's written instructions for preparing and applying hardboard underlayment.

1. Fastening Method: Nail underlayment to subflooring.

END OF SECTION 061600
	SHEATHING
	061600 - 6



