December 4, 2003

Mr. Edwin Lee

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 and Building Safety.

7919 Independence Boulevard

Baton Rouge, Louisiana 70806

RE: P0266519

       Levis Hanger (Shell Only)

       Slidell Airport

       Slidell, La. 70458

Dear Mr. Lee

We would like to change the firewall rating from UL#U453 to the GA File NO.WP 9206. This would allow an easier installation of the firewall for this hanger. Include are the DWG Layout and the cut sheet.

If you have any questions, or require any further information, please call.

Sincerely,

Chuck Dammon/Project Manager

