July 8, 2004

City of Slidell

P.O. Box 828

Slidell, La. 70458

Attn: John Cramer

Discovery Development Mini Storage

Slidell, La. 70458

Dear Mr. Cramer

This letter is to inform the City Of Slidell that we are substituting GA File No. WP 9205 for GA File No. WP 9206 for bldg’s F & G. These are both two-hour wall’s. The substitute makes for an easier installation.  

If you have any questions, or require any further information, please call.

Sincerely,

Chuck Dammon/Project Manager

