September 9, 2003

Mr. Kenneth Mc Cants

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 And Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: P0263012

       Laura Maffie Dance Works

       Slidell, La. 70458

Dear Mr. Mc Cants

Per our telephone conversation we have revised the DWG’s to have a second exit from the 2nd flr. Please see the attached DWG’s for this.

Please call me with any question you may have.
Sincerely,

Emmett G (Pete) Dammon

Louisiana License No. 8796

