October 11, 2001

Department of Public Safety and Corrections

Office of State Fire Marshall Code Enforcement and Building Safety

5150 Florida Boulevard

Baton Rouge, LA 70806

Attn: John Whitaker

         Architect

RE: P0228783

       Terrell Miceli Investigations

       430 Old Spanish Trail

       Slidell, LA 70458

Dear Mr. Whitaker

We would like to make an appeal to have only one bathroom ADA-AG in front of the building and have a private bathroom in office #5 with a shower. Having a shower in this room would not allow for the 5’turing radius, but would be built for future grab bars.  

I have filled out the appropriate paper work and have provided a copy of the drawing showing where we would like to have a shower, along with all the review letters from you. 

Any help in this matter would be greatly appreciated. Please call me with any questions.

Thank you,

Chuck Dammon 

Vice President & Project Manger

Chuckdammon@yahoo.com
DammonEngineering.com

