June 22, 2001

Mr. Sky Lala

Parish of St. Tammany

P.O. Box 628

Covington, LA  70434

RE:
Brewster Barn

Dear Sky,

The contractor, McDonald Construction, forwarded us a letter sent to them by MJM Plumbing, their subcontractor for the plumbing.

The letter states that since January 1, 2001. The State of Louisiana and St. Tammany Parish are requiring all floor drains in commercial installations be fitted with primer devices. This is a revision to the code since the job bid. McDonald said that their bid did not include these requirements.

Also an A/C drain was not shown on the drawings. It was recommended by McDaonald Construction and the plumber that a A/C drain be tied into the sewer line for the project.

We feel that this would work well.

In light of this requirement, I recommend that we allow a change order to cover the additional cost. 

Sincerely,

Chuck Dammon/Project Manager

Attachments:
Letter: MJM to McDonald Construction



Acceptance Letter: McDonald to Dammon Engineering dated June 22, 2001.

