Fairway place

Added one weatherproof GFI outlet for the exterior A/C units.

The second floor exit sign near the entrance was connected to the second floor exit sign up stairs.

Added a pull string light in the attic for the A/C unit.

Changed the EFIS system to use Conventional Stucco.

The foundation plan shows a dimension of 46’-1” we have changed it to 46’-0”. 

