ASI 10

IDN-Acme – Please provide pricing for the following:
· -          relocate PR at door 10191A

· -          add PR at door 1264

· -          add PR at elevator 03 (cabling should be to controller at floor 2.  Elevator manufacturer has cable available from elevator controller to car)

· -          add PR at door 4004 (not shown on ASI)

