554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

June 12, 2024

Heather M. Laughlin

Century 21 Action Reality

4736 West Napoleon Ave. Suite 100

Metairie, La. 70001

Re: 73419 Allen Road

Abita Springs, La.70420

Construction

One-story, wood frame, masonite siding, with a corrugated metal roof on a pier and beam foundation.

Scope:

This inspection is limited to a visual inspection of the shell of the home, including the interior and exterior foundation of the home. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to request a structural inspection of the referenced home to evaluate the structure.

Findings:

Upon inspection of the interior of the home, it was noted that there is major structural water & termite damage to all the wood floor joist and wood beams including the roof trusses. Due to the unsafe conditions of this home, it is recommended that it be demolished.

See attachments;

Pictures

Sincerely,

Brian Mistich, P.E.