554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

December 15, 2025

Mr. Joe France

Building Safety Permits

P.O. Box 828

Slidell, La. 70459

Re:

2165 Gause Blvd.

Slidell, La. 70460

Dear Mr. France

The new control panel and meter are installed 7 feet from the treatment plant and does not need to be in an explosion proof box.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187