554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

August 22, 2016

Attn: Mr. Ric Le Grange

Department of Culture, Recreation & Tourism

Office of State Parks

P. O. Box 44426

Baton Rouge, LA  70804-4426

Re:   Tickfaw State Park – Shower Repair

File Number: 1000098482

Mr. La Grange,

At your request an inspection of the construction of the temporary shower facilities was conducted 	8-11-16. The attached letters are confirmation that installation of the plumbing, electrical and mechanical facilities for the shower structures were performed by licensed individuals.

A visual inspection of these systems affirms that they do indeed appear to meet required codes.

In addition, ADA standards and accessibility features appear to meet code requirements. This inspection was limited to construction techniques of the shower structure and does not address final installation parameters or possible further requirements of the Department of Culture, Recreation & Tourism or other State Agencies.

Should you have any questions or if further information is required, please feel free to contact me.

Sincerely,

Chuck Dammon

Dammon Engineering

Brian Mistich, P.E.

Dammon Engineering, Inc.

Attachments:

Letter 8/18/16 Wayne A. Perry, Sr., License # 59260 L& W Perry II, LLC

Letter 8/18/16 William A. Tackett, License # 1899, All phase Plumbing, LLC

Bill Kingsmill’s contact information is as follows:

William Kingsmill (kingsmillprop@bellsouth.net)

Cell: (504) 528 3838

1200 Business Highway 190, Suite 13

Covington, LA 70433

Lawrence Wm. Haik, Sr

Republic Commercial Properties, LLC

1539 Royal Palm Dr.

Slidell, LA 70458

(985) 960-7033