554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

June 8th 2006

K B Kaufmann & Co. Inc

3173 Terrace Ave, E.,

Slidell, La. 70458

Re:

Village Of Eden Oak

Oak Harbor

Bldg B

Dear Mr. Kaufmann,

The added pilings for bldg B sidewalk using vibrator machine is an acceptable method for this practice.

Sincerely,

Chuck Dammon