[image: image1.png]



554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

Structural Inspection
April 23,2026

Daniel Galatas and Deborah Baldwin 

1352 Ninth St.

Slidell, La. 70458
Construction:
One-story, wood frame, brick veneer, ceramic/wood flooring, with a composition shingle roof on a conventional foundation.

Scope:
This inspection is limited to a visual inspection of the shell of the home, including the interior and exterior foundation of the home. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.  

History:

Dammon Engineering was contacted to request a structural inspection of the referenced home due to cracks in the exterior brick. 

Findings:
An overall visual inspection of the exterior of the home was conducted.  The brick on the left side of the home rear exterior wall around the window has a crack in the mortar that runs from the window sill down approximately 24” long.  Left side middle bedroom below the window, one brick has a hairline crack and continues with a mortar crack that runs vertically from the foundation up 14” long.  Also, this side of the home was noted to have mortar missing around the faucet area.  The front of the home near the front door entrance on the top right, the brick mortar has cracked. The front dining room window has a crack in the mortar below the window down approximately 8” long.  

A visual inspection of the interior of the home was conducted. No signs of stress noted in the sheet rock walls or flooring. 

No gutters or downspouts are on the home itself, only on the rear covered patio that drains into the yard. 
Conclusion:
It is important to note that all foundations settle.  Usually, everything settles together and the fastest rate of settlement occurs in the first year after construction.  By the fifth or sixth year the settlement has exponentially slowed to where there is little danger that something will happen unless caused by weather, expansion & contraction, tree roots, improper drainage, etc. 

Recommendation:
It is our opinion that the structural integrity of this home is structurally sound.
Sincerely,

Brian Mistich, P.E.
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.
Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.

