[image: image1.png]



554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

Structural Inspection
April 1, 2026

Valerie Methe

1490 Harbor Drive 

Unit 105 Bldg C

Slidell, La. 70458
Construction:
Three story condo, Unit 105. wood frame, stucco veneer, laminate flooring, with a composition shingle roof on a pier and beam foundation.

Scope:
This inspection is limited to a visual inspection of the shell of the Condo, including the interior and exterior of the Condo. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.  

History:

Dammon Engineering was contacted to request a structural inspection of the referenced Condo due to cracks in the exterior stucco and concrete floor cracking.

Findings:
An overall visual inspection of the exterior of unit 105 was conducted. The exterior of the building is stucco and there are numerous cracks in it both vertically and horizontally. Where the stairs attach to the building it has caused rainwater to intruded in the unit. Under the unit, some of the wood floor joist have deteriorated and rotted, 

all of the insulation has detached under the unit. The unit has gutters and the downspouts that drain directly on the ground and do not have splash blocks to direct the water away from the foundation. The covered rear porch closet door sticks due to the decaying of the structure. There are many cracks noted in the stucco wall and ceiling in this area. 

A visual inspection of the interior of the home was conducted. The front door will not open without kicking the bottom of the door due to the concrete floor buckling in that area. The entire concrete floor in this unit has major cracks, some being a depth of ¾”, mostly in the living room. The sheet rock wall that backs up to the exterior stairs show signs of stress and water damage. The bathroom toilet leaks at the flange causing water damage in that area due to the concrete floor not being level. The ceiling in the overall unit has many cracks in the sheet rock and water stains.  

Conclusion:
It is important to note that all foundations settle.  Usually, everything settles together and the fastest rate of settlement occurs in the first year after construction.  By the fifth or sixth year the settlement has exponentially slowed to where there is little danger that something will happen unless caused by weather, expansion & contraction, tree roots, improper drainage, etc. This building was previously stabilized and leveled with new footings and CMU block piers.

Recommendation:
It is our opinion that in order for this unit to be habitable all the items noted in this report need to be addressed.   
            Items to be addressed are as follows:

1) Replace all deteriorated and rotten floor joist.

2) Replace sub floor wood decking where floor joist are replaced. 

3) Replace all the insulation under the unit.

4) Direct downspouts away from the foundation.

5) Remove all the exterior Stucco and replace with new.

6) Replace the concrete floor in the unit. 

7) Repair all the sheet rock cracks in the walls and ceilings.

8) Replace the entrance door and rear porch door. 

See attachments; 

Pictures

Sincerely,

Brian Mistich, P.E.
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.
Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.

