March 31, 2003

Mr. David Copenal

Parish of St. Tammany

P.O. Box 628

Covington, LA  70434

RE:
59 Barn – North Street, Abita Springs

Dear David,

Per our meeting today with the electrical contractor, we authorize the new location of the power panels to be on the southwest corner of the bldg. This will be a no cost change. We had increased the Auto Transfer Switch from 200 Amp to 400 Amp after contract award. By relocating the service entrance closer to the road this will offset the price difference of the bigger Transfer Switch.

If you have any questions, or require any further information, please call.

Sincerely,

Chuck Dammon/Project Manager

CC: Keith Pumilia

        Pumilia Contractors
