May 18, 2004

Donna O’Dell

City Engineer

City of Slidell

2055 Second Street

Slidell, Louisiana  70458

1. RE: 1080 Old Spanish Trail

2.        Slidell File No. 800-10/Permit No.2011-2004

3. Dear Donna

4. In response to your letter, dated May 14, 2004 please note the following:

5. Please see the attached copy of the Driveway Permit Application.

6. We have revised the drainage in the rear. The new roof drainage will have three 8”pvc pipe’s running through the building ceiling into the front parking lot.

7. Please see the attached plan.

8. The elevations are marked on the plan for, but we are not using this design anymore.

9. Please see the attached cut sheet.

10. We have revised the Calc’s. Please see the plan.

If you have any questions or require any further information, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager

CKD:clh

Camellia Gardens Page 1 of 1

