October 1, 2003

Mr. Edwin Lee

Office of State Fire Marshal 

Department of Public Safety and Corrections

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Abek Real Estate/PO250433

Dear Mr. Lee

I am sending you the revised floor plans that we discussed earlier. We have rearranged some interior walls and relocated some rooms on the first & second floor. Also we added another stairway to the attic; please see the attached dwg’s A-1, A-2, A-3 & A-4. 

Also we are omitting the Fire Alarm system that was noted on the dwgs per section 38.3.4.1. of the Life Safety Code.

Please call me with any question you may have.

Thank you,

Chuck Dammon

VP/Project Manager

