August 14, 2002

Bobby Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject: Camellia Gardens / Bldg. #1

               Smoke Evacuation System

Dear Bobby,

I spoke to Mr. Dean Born with the City of Slidell. He has agreed with me that building #1 is not an atrium. Therefore we do not need a smoke evacuation system. I am also sending you the fax he sent to me.

Please call me with any question you may have.

Chuck Dammon

Vice President & Project Manager

