January 25, 2002

Mrs. Cynthia Obier

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 And Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Camellia Gardens

        P0220398
Dear Mrs. Obier

I spoke to you on the phone today about the kitchen area and the need for a 30 inch wide knee space at the kitchen sink (this will be done), and also a 30 inch wide work space in this kitchen arrangement. The owner would like to omit a 30 inch wide work space due to the limited space in that area and also it is not a full working kitchen. No cooking will be permitted as there is no stove or dishwasher in the rooms. There is and on site kitchen that will provide three meals a day. Please see the kitchen layout provided.

Please call me with any questions that you may have.

Thank you,

Chuck Dammon

VP

