01/14/02

Fire District No.1

St. Tammany Parish

544 Old Spanish Trail

Slidell, LA. 70458

Attn: Chris A. Kaufmann

Re: Camellia Gardens

       P0220398

Dear Mr. Kaufmann

We would like to get Pre-approval of the vanities for the bathrooms and kitchens. Here are cut sheets that show what we would like to use. Also the State Fire Marshall (Cynthia Obier) recommended the need for a 30 inch wide knee space at the kitchen sink (this will be done), and also a 30 inch wide work space in this kitchen arrangement. The owner would like not to put a 30 inch wide work space due to the limited space in that area and also it is not a full working kitchen. No cooking will be permitted as there is no stove or dishwasher in the rooms. Please see the kitchen layout provided.

We would appreciate your expediting this approval so the contractor can order the cabinets. Please call me with any questions or concerns.

Thank you,

Chuck Dammon

VP/Project Manager

