01/29/02

Fire District No.1

St. Tammany Parish

544 Old Spanish Trail

Slidell, LA. 70458

Attn: Chris A. Kaufmann

Re: Camellia Gardens

       P0220398
Dear Mr. Kaufmann

We would like to get Pre-approval of a new Fire Resistance Rating for ceilings that just came out as of January 16, 2002– ANSI/UL 263, Design No. P533. We would like to use this in lieu of two layers of sheet rock on the ceiling to get our 1-hour rating. Please see the cut sheets for this rating.

Please indicate your acceptance of the above by signing below and faxing back at your earliest convenience.

If you have any questions, please feel free to call.

Accepted _______________________                       _____________

                        Chris Kaufmann                                              Date

Thank you,

Chuck Dammon

VP/Project Manager

