The City Of Slidell

2055 Second Street

Slidell, La. 70458

John Cramer

Plan Examiner

                                                            BUILDING

Sheet A-1 Window “C” in Office

1) The following shall be considered specific hazardous locations for the purposes of glazing:

A) Glazing in swing doors and fixed and sliding panels of sliding (patio) door assemblies.

B) Glazing in an individual fixed or operable panel adjacent a door where the nearest vertical edge is within a 24inch radius of the door in a closed position and whose bottom edge is less than 60 inches above the floor or walking surface.

We have relocated the door to the opposite side of the room.

                             

PLUMBING

1) Trap Primers required for floor drains in bathrooms.

See sheet P-1 note # 4 under the fixture schedule.

2) Where will the water heater be located?

Above the bathroom. See sheet E-1

 



ACHMRV
1) Where is return air to be located.

     We have located it in the middle of the hall in the suspended ceiling.

