       


 STRUCTURAL INSPECTION

August 29, 2002

Type: Residential

For: Linda Pertuit

       30223 East St.

       Lacombe, La. 70445

Re: Structural Home Inspection

History: 

The home is approximately 1 ½ years old. It is a wood frame with brick, stucco and vinyl siding on a concrete foundation. The owner has noticed small hair line cracks in the ceramic tile located in the kitchen area and in the hearth near the fireplace. The owner wanted an engineer’s opinion on this. Previous to this the ceramic tile was replaced.

Findings:

It was noted that there is a hair line crack starting 2’ from the rear of the home extending through the kitchen and stopping near the dining room. Approximately 12’ long. The cracks appear to only be in that area besides the hearth. There was no cracks noted in the front or rear exterior of the foundation or in the ceilings or walls. 

We didn’t find any structural damage in the foundation. We did find that the house has normal expansion and contraction due to weather changes.
Analysis:

There are several products that can be installed on the floor prior to the new ceramic tile being installed. One is wonder board and the other is an epoxy for ceramic. The ceramic tiles need to be removed and one of these products installed prior to new tile being laid down.

Conclusion:

It is my professional opinion that the house is in good structural condition.

Sincerely,

Emmett G (Pete) Dammon

Louisiana License No. 8796

