MEETING MINUTES

Timbers Office Park Project LA # 96191/97038/97046
Date:  8/22/01 Location: Timbers Office Park Time: 9:30 AM_
Attendees:
NAME                                      ORGANIZATION
                              PHONE
Chuck Dammon

Dammon Engineering

649-5832/641-5950

Ben White


Orleans Parish School BD

942-3517/942-3516

Jason Grogtson

RFCC




956-2005/456-2010

 PUNCH LIST ITEMS FOR ROY FRISCHHERTZ CONSTRUCTION CO., INC.:

1. HANDICAP BATHROOMS BLDG 3500: 

NEED HDCP SIGN ON BATHROOM DOOR

NEED TO HAVE LEVER TYPE HANDLE ON HDCP BATHROOM STALL

PUNCH LIST ITEMS FOR NEW ORLEANS SCHOOL BOARD:

1. HANDICAP BATHROOMS BLDG 3500:

LOWER HDCP SINK TO 34” FROM FLOOR

WRAP PEE TRAP & WATER LINES

NEED GFI OUTLET OVER SINK

 2.  BLDG. 3500 ELECTRICAL ROOM NEEDS TO HAVE ALL PIPE   PENTRATIONS FIRE CAULKED.

_______________________Date______

Chuck Dammon/Project Manager

