
                           REVISED HARDWARE SCHEDULE




          St. Charles Hospital Emergency





  LULING, LA 
Set #1 – (Doors 21, 60)    
3-Hinges

5  X 4 ½ 

Mckinney

T4A3386XNRP  32D
1– Lockset

Storeroom

Sargent
      
8204xLNL
 32D
1– Closer




Sargent
     
351 PH10
 EN
1-Kickplate

10 x 46 (#21)

Rockwood

K1050

32D

1-Kickplate

10 x 34 (#60)

Rockwood

K1050

32D

1-Hvy Duty Stop



Rockwood

462

26D

1-Threshold
            48” 


Mckinney

2005AT
Alum
1-Weatherstrip            48”x84”

Mckinney

MCK303AS
Alum
1-Sweep

48”


Mckinney

MCK345AV
Alum
1-RainDrip

52”


Mckinney

MCK346C
Alum

3 – Mutes




Rockwood

608

Grey
Set #2 – (Doors 2)    Revised Set
1-Electric Hinge
5  X 4 ½ 

Mckinney
      T4A3786xQC12
  26D
2-Hinges

5  X 4 ½ 

Mckinney

T4A3786
  26D

1–Rim Panic
       

           
    Sargent Delayed Egress 59-55-8813-ETL 
32D
1-Elec Strike




HES


9600
1– Closer

Standard

Sargent
     
351 UO
 EN

1-Kickplate

10 x 46

Rockwood

K1050

32D

1-Hvy Duty Stop



Rockwood

443

26D

1-PowerSupply



Securitron

BPS-24-1

3 – Mutes




Rockwood

608

Grey

Set #3 – (Doors 7)    Revised Set
1-POE HvyWt Hinge
5” x 5” 

BY OTHERS

T4A3786 x POE 26D 2-Hinges

5” x 5” 
 
Mckinney

T4A3786
  26D

1–Panic By Others
 (LHR)


BY OTHERS
     S1PK8877-G-ETL  32D
1– Closer

Hold Open

Sargent
     
351 PH10
 EN

1-Kickplate

10 x 46

Rockwood

K1050

32D

1-Wall Stop




Rockwood

409

26D
3 – Mutes




Rockwood

608

Grey

Set #4 – (Doors 12)    Revised Set
1-POE HvyWt Hinge
5” x 5” 

BY OTHERS

T4A3786 x POE 26D
 

2-Hinges

5” x 5” 

Mckinney

T4A3786
  26D

1–POE Lockset
BY OTHERS

Sargent
      
S182278
 26D

1– Closer

Hold Open

Sargent
     
351 PH10
 EN

1-Kickplate

10 x 34

Rockwood

K1050

32D

1-Wall Stop




Rockwood

409

26D

3 – Mutes




Rockwood

608

Grey

Set #5 – (Doors 19, 33)    Pair
4-Hinges

5”  X 4 ½ 

Mckinney

T4A3786
  26D

2-ElectricHinge
5”  X 4 ½ 

Mckinney

T4A3786XQC12 26D

1–Elec SVR Panic
ELR/SS   (RHR)
Sargent           55-56-NB-8710-ETL-DT 32D

1-Elec SVR Panic
ELR/SS   (LHR)
Sargent           55-56-NB-8713-ETL
  32D
2– PowerMatic Operator


Stanley

     
D4990

 689

2-Armor Plates
36 x 42

Rockwood

K1050

32D

2-Wall Stop




Rockwood

409

26D

1-PowerSupply



Securitron

BPS-24-2

1-Door Switch            



Stanley


CL4163

32D

2 – Mutes




Rockwood

608

Grey

Set #6 – (Doors 36)    Dbl Egress
4-Hinges

4 1/2  X 4 ½ 

Mckinney

T4A3786
  26D

2-ElectricHinge
4 1/2  X 4 ½ 

Mckinney

T4A3786XQC12 26D

1–Elec SVR Panic
ELR/SS     (LHR)
Sargent           55-56-NB-8710-ETL-DT 32D

1-Elec SVR Panic
ELR/SS     (LHR)
Sargent           55-56-NB-8713-ETL
  32D
2– PowerMatic Operator


Stanley

     
D4990

 689

2-Armor Plates
36 x 34

Rockwood

K1050

32D

2-Hvy Duty Stops



Rockwood

462

26D

1-PowerSupply



Securitron

BPS-24-2

1-Door Switch            



Stanley


CL4163

32D

2 – Mutes




Rockwood

608

Grey

Set #7 – (Doors 5)    Revised Set
3-Hinges

5”  X 4 ½ 

Mckinney

TA2714
  26D

1-Lockset

Storeroom

Sargent
      
28-10G04 LL
 26D 
1– Closer




Sargent
     
351 PH10
 EN
1-Kickplate

10 x 46

Rockwood

K1050

32D

1-Hvy Duty Stops



Rockwood

462

26D

3 – Mutes




Rockwood

608

Grey

Set #8 – (Doors 48)    Revised Set
3-Hinges

5”  X 4 ½ 

Mckinney

TA2714
  26D

1-Lockset

Passage

Sargent
      
28-10U15 LL
 26D 

1– Closer




Sargent
     
351 UO
 EN

1-Mag Lock




Securitron

M62



1-Power Supply



Securiton

BPS-24-1

1-Kickplate

10 x 46

Rockwood

K1050

 32D

1-Wall Stop




Rockwood

409

 26D

3 – Mutes




Rockwood

608

 Grey

**Card Reader by others**

Set #9 – (Doors 59)    Revised Set (Sargent push button S182278 mortise locks By Others)
1-POE Hinge

4 ½”  X 4 ½ 
            BY OTHERS
         TA2714 x POE   26D
 

2-Hinges

4 ½”  X 4 ½ 

Mckinney

TA2714
  26D

1-POE Lockset
BY OTHERS

Sargent
      
S182278
 26D 

1– Closer




Sargent
     
351 UO
 EN

1-Kickplate

10 x 34

Rockwood

K1050

 32D

1-Wall Stop




Rockwood

409

 26D

3 – Mutes




Rockwood

608

 Grey

Set #10 – (Doors 11)    Deleted
Set #11 – (Doors 20, 49)    

3-Hinges

5”  X 4 ½” 

Mckinney

TA2714
  26D

1-Lockset

Storeroom

Sargent
      
28-10G04 LL
 26D 

1-Overhead Stop



Rixson


9-536

652
3 – Mutes




Rockwood

608

Grey

Set #12 – (Doors 22, 32, 56)    Revised Set (Sargent push button S182278 mortise locks By Others)
1-POE Hinge

4 ½”  X 4 ½ 
            BY OTHERS
         TA2714 x POE   26D 2-Hinges

4 ½” x 4 ½” 

Mckinney

TA2714
  26D

1-POE Lockset
BY OTHERS

Sargent
      
S182278
 26D 

1– Closer




Sargent
     
351 UO
 EN

1-Kickplate

10 x 34

Rockwood

K1050

32D

1-Wall Stop




Rockwood

409

26D

1-Smoke Seal




Mckinney

MckS88 
Clear
Set #12A – (Doors 46)    Revised Set 
3-Hinges

4 1/2  X 4 ½ 

Mckinney

TA2714
  26D

1-Lockset

Storeroom 

Sargent
      
28-10G04 LL
 26D 

1– Closer




Sargent
     
351 UO
 EN

1-Kickplate

10 x 34

Rockwood

K1050

32D

1-Wall Stop




Rockwood

409

26D

1-Smoke Seal




Mckinney

MckS88 
Clear

Set #13 – (Doors 44)    

3-Hinges

4 1/2  X 4 ½ 

Mckinney

TA2714
  26D

1-Lockset

Storeroom

Sargent
      
28-10G04 LL
 26D 

1– Closer




Sargent
     
351 PS

 EN

1-Kickplate

10 x 34

Rockwood

K1050

32D

1-Smoke Seal




Mckinney

MckS88 
Clear

Set #14 – (Doors 31)    Revised Set (Sargent push button S182278 mortise locks By Others)
1-POE Hinge

4 ½”  X 4 ½ 
            BY OTHERS
         TA2714 x POE   26D 2-Hinges

4 1/2  X 4 ½ 

Mckinney

TA2714
  26D

1-POE Lockset
BY OTHERS

Sargent
      
S182278
 26D
1– Closer




Sargent
     
351 UO
 EN

1-Kickplate

10 x 34

Rockwood

K1050

32D

1-Floor Stop




Rockwood

443

26D

1-Smoke Seal




Mckinney

MckS88 
Clear

Set #15 – (Doors 30, 37, 38, 40, 43, 45, 53)    Revised Set (Add Sargent 351 x PH10 Hold Open closers at Door #’s 37, 38, 53)
3-Hinges

4 1/2  X 4 ½ 

Mckinney

T2714
 
 26D

1-Lockset

Office


Sargent
      
28-10G05 LL
 26D 
1-Wall Stop




Rockwood

409

26D

3 – Mutes




Rockwood

608

Grey

Set #16 – (Doors 13, 18)    

3-Hinges

5  X 4 ½ 

Mckinney

T2714
 
 26D

1-Lockset

Office


Sargent
      
28-10G05 LL
 26D 

1-Wall Stop




Rockwood

409

26D

3 – Mutes




Rockwood

608

Grey

Set #17 – (Doors 39)    Revised Set (Sargent push button S182278 mortise locks By Others)
1-POE Hinge

4 ½”  X 4 ½ 
            BY OTHERS
         TA2714 x POE   26D

2-Hinges

4 1/2  X 4 ½ 

Mckinney

TA2714
  26D

1-POE Lockset
BY OTHERS

Sargent
      
S182278
 26D
1– Closer




Sargent
     
351 PS

 EN

1-Kickplate

10 x 34

Rockwood

K1050

32D

1-Wall Stop




Rockwood

409

26D

3 – Mutes




Rockwood

608

Grey

Set #18 – (Doors 27, 28)    

3-Hinges

5  X 4 ½ 

Mckinney

T4A3786
26D
 
1-Hospital Paddle
5” backset

Sargent
      
24-28-114
 26D 

2-Door Edging
36”


Rockwood

306B

32D

1-Armor Plate

36” x 45”

Rockwood

K1050

32D

1-Wall Stop




Rockwood

409

26D

3 – Mutes




Rockwood

608

Grey

Set #19 – (Doors 23, 24, 47)    Revised Set
3-Hinges

4 1/2  X 4 ½ 

Mckinney

T2714
  
26D

1-Lockset

Privacy

Sargent
      
28-10U65 LL
 26D 

1– Closer

Hold Open

Sargent
     
351 PH10
 EN

1-Mop Plate

4 x 34


Rockwood

K1050

32D

1-Wall Stop




Rockwood

409

26D

3 – Mutes




Rockwood

608

Grey

Set #20 – (Doors 41, 42, 52)    

3-Hinges

4 1/2  X 4 ½ 

Mckinney

T2714
  
26D

1-Lockset

Privacy

Sargent
      
28-10U65 LL
 26D 

1-Mop Plate

4 x 34


Rockwood

K1050

32D

1-Overhead Stop



Rixson


9-336

652

1-Smoke Seal




Mckinney

MckS88 
Clear

Set #20A – (Doors 51)    

3-Hinges

4 1/2  X 4 ½ 

Mckinney

HTA2714  
26D

1-Lockset

Storeroom

Sargent
      
28-10G04 LL
 26D 

1-Mop Plate

4 x 23


Rockwood

K1050

32D

1-Floor Stop




Rockwood

442

26D

1-Smoke Seal




Mckinney

MckS88 
Clear

Set #20B – (Door 50 )    

3-Hinges

4 1/2  X 4 ½ 

Mckinney

HTA2714  
26D

1-Lockset

Storeroom

Sargent
      
28-10G04 LL
 26D 

1-Mop Plate

4 x 34


Rockwood

K1050

32D

1-Floor Stop




Rockwood

442

26D
1-Smoke Seal




Mckinney

MckS88 
Clear

Set #21 – (Doors 3, 4)    

3-Hinges

4 1/2  X 4 ½ 

Mckinney

TA2714  
26D

1-Lockset

Privacy

Sargent
      
28-10U65 LL
 26D 1-Mop Plate

4 x 34


Rockwood

K1050

32D

1-Kickplate

10 x 34

Rockwood

K1050

32D

1-Wall Stop




Rockwood

409

26D

1-Smoke Seal




Mckinney

MckS88 
Clear

Set #22 – (Doors 1, 6, 8, 9)    

1-Mortise Cylinder



Sargent

41x LE Keyway26D

