554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Manufactured Home Inspection

March 21, 2024

Lena Nesbit

Keller Williams Realty

2053 E Gause Blvd.

Slidell, La. 70461

Ref: 65360 North Blvd.

Pearl River, La. 70452

RE:	Manufactured Home – FHA Requirements

- The foundation system is adequate for the soil conditions of the site as per HUD Handbook 7584, attachment B.

- Tie downs are tied to screw anchors in the ground and meet the HUD/FHA requirement as installed by manufacturer.

- Wheels and axles have been removed.

- The tongue and trailer hitch have been removed.

- The unit is permanently connected to the water and waste system.

- Per HUD/FHA requirements, the crawlspace is enclosed with skirting with ventilation and access panels.

- I certify that the foundation meets the requirements of FHA.

- I certify that the foundation meets the requirements of the manufactured housing industry specification for foundations, HUD Handbook 7584, dated September 1996.

- All handrails were found to be structurally sound, meeting the requirements for R311.5.3 Stairs and Treads of the IRC and R311.5.6.

- The manufactured home has not been previously installed or located on another site except from the manufacture or dealer’s lot as a new unit.

Sincerely,

Brian A Mistich, P.E.

LA License No. 0030187