554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

July 16, 2025

Mr. Joe France

Chief Building Official

Building Safety, Permits & Code Enforcement

P.O. Box 828

Slidell, La. 70459

Re:  Foundation for Pre Engineered Metal Building

Ronald Frazier

Executive Director

Housing Authority of the City Of Slidell

1250 Martin Luther King Drive

Slidell, La. 70458

Dear Mr. France,

Mr. Frazier requested that I inspect the concrete foundation located at the referenced location for a Pre Engineered Metal Building. Mr. Frazier has documentation and records indicating the types of materials used in the construction of the concrete footings.  He requested that I provide you with the following affidavit.

It is my professional opinion that the foundation was designed and constructed to meet the requirements of the 2021 IRC, and is structurally sufficient for the use intended.

The inspection was performed by me and this report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation was erected according to provisions of Chapter 4 of the International Residential Code, 2021 residential edition.  I hereby assume full responsibility for the compliance with all provisions of the technical code for foundations and all other pertinent laws and ordinances, as pertains to the foundation of the structure.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same as is under the residence.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187