January 12, 2004

Underwriters Laboratories Inc.

Attn: John Mammoser

Discovery Development Apartment

Slidell, La. 70458

Dear Mr. Mammoser

The contractor is using UL # L528 for the Floor-Ceiling Assembly. We are asking for a judgement in favor for us to continue the Floor-Ceiling assembly to the furring channel and wrap it around it. Please see the attached drawing.

Please bill Brian Reine @ 

IGC LLC.

130 West Howze Beach Road.

Slidell, La. 70458

If you have any questions, or require any further information, please call.

Sincerely,

Chuck Dammon/ 
