February 19, 2002

Mrs. Cynthia Obier

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 And Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Camellia Gardens

        P0220398

Dear Mrs. Obier

 I would like to get approval for a fire rating. We originally designed for our tenant separation to have 5/8” sheet rock on both sides of the wall that continue to the roof. 

We now would like to use 5/8” sheet rock on both sides of the wall and two layers of 5/8” sheet rock on the ceiling which complies with the Gypsum Association Fire Test FMFC 172,2-25-72:GA File No. RC2601. And the attic’s will have draft stops at 3,000 Sq. Ft. 

This would only take place in the single story bldg.’s and the two story bldg.’s second floors.

We would appreciate your approval in this matter.

Please call me with any questions that you may have.

Thank you,

Chuck Dammon

VP

