       


 STRUCTURAL INSPECTION

April 29, 2003
Type: Residential

For: Sunset Mortgage

        1400-A Gause Blvd.

        Slidell, La. 70458 

Re:  Lot 71, Wimbledon S/D 

       218 Canberra,

       Slidell, La. 70458

History: 

The home is approximately 27 years old. It is a wood frame with brick veneer siding on a concrete foundation. The Appraiser has noted small hairline crack in there report. The Mortgage Company wanted an engineer’s opinion on this. 

Findings:

It was noted on the right side of the home, that there is a hairline crack in the brick veneer approximately 5’ long. The crack appears to only be in that area of brick veneer siding.
We didn’t find any structural damage in the foundation. We did find that the house has normal expansion and contraction due to weather changes.

Analysis:

There are several products that can be used to seal the bricks. One is mortar. The second one is caulking. These are both an approved methods of sealing the brick.

Conclusion:

It is my professional opinion that the house is in good structural condition.

Sincerely,

Emmett G (Pete) Dammon

Louisiana License No. 8796

