       


 STRUCTURAL INSPECTION

June 5, 2003
Type:
Residential

For:
Troy Marino

59384 Spring Drive

Slidell, La 70461

Ref:     59439 Spring Drive
            Slidell, La 70461

History:

The home is wood frame construction on a concrete foundation with brick and wood siding. Mr. Marino contacted me to evaluate the home prior to purchasing it.

Findings:

Upon inspection it was noted that several places had rotten siding on the exterior of the home. Also it was noted that termites have invaded the front and rear porch. Currently the home is under termite treatment. Some of the Interior of the home has been updated (New Cabinets,etc.) but needs a lot of  TLC.
Conclusion:

It is my professional opinion that the house is structurally in good condition.

Sincerely,

Emmett G (Pete) Dammon

Louisiana License No. 8796

