March 17, 2004 

City of Slidell

P.O. Box 828

Slidell, La. 70458

Attn: John Cramer

RE: Velez Residence

       2974 Palm Drive

       Slidell, La. 70458

Dear Mr. Cramer

Per the owner/and contractor they are requesting some changes. They are as noted.

1) Change the spacing on the Roof Framing to 2x8 @ 24” O.C. with strong backs at midspan.

2) Change the elevation of the first floor concrete porch to 5.24’ to match the existing elevations, this new concrete shall be sloped. Seal entire porch for water seepage.

If you have any questions, or require any further information, please call.

Sincerely,

Chuck Dammon

VP/Project Manager

