Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 016000

PRODUCT REQUIREMENTS

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - This Section includes administrative and procedural requirements for selection of products for use in Project; product delivery, storage, and handling; manufacturers' standard warranties on products; special warranties; product substitutions; and comparable products.

      - DEFINITIONS

Always retain this Article.  These definitions refer specifically to contents of this Section and are not repeated in Division 01 Section "References."

        - Products:  Items purchased for incorporating into the Work, whether purchased for Project or taken from previously purchased stock.  The term "product" includes the terms "material," "equipment," "system," and terms of similar intent.

          - Named Products:  Items identified by manufacturer's product name, including make or model number or other designation shown or listed in manufacturer's published product literature, that is current as of date of the Contract Documents.

          - New Products:  Items that have not previously been incorporated into another project or facility, except that products consisting of recycled-content materials are allowed, unless explicitly stated otherwise.  Products salvaged or recycled from other projects are not considered new products.

          - Comparable Product:  Product that is demonstrated and approved through submittal process, or where indicated as a product substitution, to have the indicated qualities related to type, function, dimension, in-service performance, physical properties, appearance, and other characteristics that equal or exceed those of specified product.

        - Substitutions:  Changes in products, materials, equipment, and methods of construction from those required by the Contract Documents and proposed by Contractor.

Retaining of basis-of-design product specification below might avoid requirement for a Change Order for substitutions, as required by AIA Document A201.  See Evaluations.

        - Basis-of-Design Product Specification:  Where a specific manufacturer's product is named and accompanied by the words "basis of design," including make or model number or other designation, to establish the significant qualities related to type, function, dimension, in-service performance, physical properties, appearance, and other characteristics for purposes of evaluating comparable products of other named manufacturers.

      - SUBMITTALS

AIA Document A201 requires Contractor to furnish a list of proposed subcontractors and suppliers for each principal portion of the Work.  AIA Document A511 suggests expansion of this requirement to include manufacturers and installers.  Revise to suit Project.

        - Product List:  Submit a list, in tabular from, showing specified products.  Include generic names of products required.  Include manufacturer's name and proprietary product names for each product.

          - Coordinate product list with Contractor's Construction Schedule and the Submittals Schedule.

Retain subparagraph and associated subparagraphs below only if specific data are required on each item.

          - Form:  Tabulate information for each product under the following column headings:

Delete or add headings below to suit Project.  See Evaluations.

            - Specification Section number and title.

            - Generic name used in the Contract Documents.

            - Proprietary name, model number, and similar designations.

            - Manufacturer's name and address.

            - Supplier's name and address.

            - Installer's name and address.

            - Projected delivery date or time span of delivery period.

            - Identification of items that require early submittal approval for scheduled delivery date.

Initial submittal below should be unnecessary.  If retaining, revise time for coordination with other submittals.  Variations shown in list usually require a substitution request or a Change Order.

          - Initial Submittal:  Within 15 calendar days after date of commencement of the Work, submit 3 copies of initial product list.  Include a written explanation for omissions of data and for variations from Contract requirements.

            - At Contractor's option, initial submittal may be limited to product selections and designations that must be established early in Contract period.

Revise time in subparagraph below for coordination with other submittals.  Variations shown in list usually require a Change Order.

          - Completed List:  Within 30 calendar days after date of commencement of the Work, submit 3 copies of completed product list.  Include a written explanation for omissions of data and for variations from Contract requirements.

Usually retain subparagraph below.

          - Architect's Action:  Architect will respond in writing to Contractor within 14 business days of receipt of completed product list.  Architect's response will include a list of unacceptable product selections and a brief explanation of reasons for this action.  Architect's response, or lack of response, does not constitute a waiver of requirement to comply with the Contract Documents.

AIA Document A511 suggests adding requirements to AIA Document A201 in the Supplementary Conditions for consideration of requests received after Contract award.  First paragraph and subparagraphs below expand requirements suggested by AIA Document A511.

        - Substitution Requests:  Submit three copies of each request for consideration.  Identify product or fabrication or installation method to be replaced.  Include Specification Section number and title and Drawing numbers and titles.

If retaining last option in first subparagraph below, insert a sample of the form to be used at end of Section.

          - Substitution Request Form:  Use CSI Form 13.1A.

          - Documentation:  Show compliance with requirements for substitutions and the following, as applicable:

Retain and edit requirements below that are necessary and not included in the Supplementary Conditions.

            - Statement indicating why specified material or product cannot be provided.

            - Coordination information, including a list of changes or modifications needed to other parts of the Work and to construction performed by Owner and separate contractors, that will be necessary to accommodate proposed substitution.

            - Detailed comparison of significant qualities of proposed substitution with those of the Work specified.  Significant qualities may include attributes such as performance, weight, size, durability, visual effect, and specific features and requirements indicated.

            - Product Data, including drawings and descriptions of products and fabrication and installation procedures.

            - Samples, where applicable or requested.

            - List of similar installations for completed projects with project names and addresses and names and addresses of architects and owners.

            - Material test reports from a qualified testing agency indicating and interpreting test results for compliance with requirements indicated.

            - Research/evaluation reports evidencing compliance with building code in effect for Project, from a model code organization acceptable to authorities having jurisdiction.

            - Detailed comparison of Contractor's Construction Schedule using proposed substitution with products specified for the Work, including effect on the overall Contract Time.  If specified product or method of construction cannot be provided within the Contract Time, include letter from manufacturer, on manufacturer's letterhead, stating lack of availability or delays in delivery.

            - Cost information, including a proposal of change, if any, in the Contract Sum.

            - Contractor's certification that proposed substitution complies with requirements in the Contract Documents and is appropriate for applications indicated.

            - Contractor's waiver of rights to additional payment or time that may subsequently become necessary because of failure of proposed substitution to produce indicated results.

          - Architect's Action:  If necessary, Architect will request additional information or documentation for evaluation within 7 calendar days of receipt of a request for substitution.  Architect will notify Contractor of acceptance or rejection of proposed substitution within 15 calendar days of receipt of request, or 7 calendar days of receipt of additional information or documentation, whichever is later.

            - Form of Acceptance:  Change Order.

            - Use product specified if Architect cannot make a decision on use of a proposed substitution within time allocated.

        - Comparable Product Requests:  Submit three copies of each request for consideration.  Identify product or fabrication or installation method to be replaced.  Include Specification Section number and title and Drawing numbers and titles.

          - Architect's Action:  If necessary, Architect will request additional information or documentation for evaluation within one week of receipt of a comparable product request.  Architect will notify Contractor[ through Construction Manager] of approval or rejection of proposed comparable product request within [15] <Insert time> days of receipt of request, or [7] <Insert time> days of receipt of additional information or documentation, whichever is later.

            - Form of Approval:  As specified in Division 01 Section "Submittal Procedures."

            - Use product specified if Architect cannot make a decision on use of a comparable product request within time allocated.

        - Basis-of-Design Product Specification Submittal:  Comply with requirements in Division 01 Section "Submittal Procedures."  Show compliance with requirements.

      - QUALITY ASSURANCE

        - Compatibility of Options:  If Contractor is given option of selecting between two or more products for use on Project, product selected shall be compatible with products previously selected, even if previously selected products were also options.

Retain both subparagraphs below for Projects constructed under multiple contracts.  Specification Sections should indicate selection priorities.  Below are for unforeseen circumstances only.

          - Each contractor is responsible for providing products and construction methods compatible with products and construction methods of other contractors.

          - If a dispute arises between contractors over concurrently selectable but incompatible products, Architect will determine which products shall be used.

      - PRODUCT DELIVERY, STORAGE, AND HANDLING

This Article eliminates need to include this information in each Section in Divisions 02 through 49. Limit use of this Article in each Section to unusual requirements.

        - Deliver, store, and handle products using means and methods that will prevent damage, deterioration, and loss, including theft.  Comply with manufacturer's written instructions.

        - Delivery and Handling:

Revise four subparagraphs below to suit Project.

          - Schedule delivery to minimize long-term storage at Project site and to prevent overcrowding of construction spaces.

          - Coordinate delivery with installation time to ensure minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft, and other losses.

          - Deliver products to Project site in an undamaged condition in manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting, and installing.

          - Inspect products on delivery to ensure compliance with the Contract Documents and to ensure that products are undamaged and properly protected.

        - Storage:

          - Store products to allow for inspection and measurement of quantity or counting of units.

          - Store materials in a manner that will not endanger Project structure.

          - Store products that are subject to damage by the elements, under cover in a weathertight enclosure above ground, with ventilation adequate to prevent condensation.

          - Store cementitious products and materials on elevated platforms.

          - Store foam plastic from exposure to sunlight, except to extent necessary for period of installation and concealment.

          - Comply with product manufacturer's written instructions for temperature, humidity, ventilation, and weather-protection requirements for storage.

          - Protect stored products from damage and liquids from freezing.

Delete subparagraph below if Owner provides own storage facilities.

          - Provide a secure location and enclosure at Project site for storage of materials and equipment by Owner's construction forces.  Coordinate location with Owner.

      - PRODUCT WARRANTIES

        - Warranties specified in other Sections shall be in addition to, and run concurrent with, other warranties required by the Contract Documents.  Manufacturer's disclaimers and limitations on product warranties do not relieve Contractor of obligations under requirements of the Contract Documents.

Warranty in first subparagraph below is manufacturer's standard and may have exclusions and limitations that do not suit Project.  Check warranties and specify special warranties if manufacturers' warranties are not suitable.

          - Manufacturer's Warranty:  Preprinted written warranty published by individual manufacturer for a particular product and specifically endorsed by manufacturer to Owner.

          - Special Warranty:  Written warranty required by or incorporated into the Contract Documents, either to extend time limit provided by manufacturer's warranty or to provide more rights for Owner.

        - Special Warranties:  Prepare a written document that contains appropriate terms and identification, ready for execution.  Submit a draft for approval before final execution.

          - Manufacturer's Standard Form:  Modified to include Project-specific information and properly executed.

          - Specified Form:  When specified forms are included with the Specifications, prepare a written document using appropriate form properly executed.

          - Refer to Divisions 02 through 49 Sections for specific content requirements and particular requirements for submitting special warranties.

        - Submittal Time:  Comply with requirements in Division 01 Section "Closeout Procedures."

Insert specific requirements if a single warranty must cover work by several contractors.  Prepare draft of such warranty with advice of Owner's legal counsel and include it at end of this Section.

- PRODUCTS

      - PRODUCT SELECTION PROCEDURES

This Article defines procedures for product selection.  See Evaluations for a discussion of various specifying methods and a comparison of terms in MASTERSPEC with those in CSI's "Manual of Practice."

        - General Product Requirements:  Provide products that comply with the Contract Documents, that are undamaged and, unless otherwise indicated, that are new at time of installation.

Seven subparagraphs below are examples only; revise to suit Project.

          - Provide products complete with accessories, trim, finish, fasteners, and other items needed for a complete installation and indicated use and effect.

          - Standard Products:  If available, and unless custom products or nonstandard options are specified, provide standard products of types that have been produced and used successfully in similar situations on other projects.

          - Owner reserves the right to limit selection to products with warranties not in conflict with requirements of the Contract Documents.

          - Where products are accompanied by the term "as selected," Architect will make selection.

          - Where products are accompanied by the term "match sample," sample to be matched is Architect's.

          - Descriptive, performance, and reference standard requirements in the Specifications establish "salient characteristics" of products.

Retain subparagraph below only if Project requires use of a term similar to "or equal" when products are specified by name; MASTERSPEC does not follow this practice.  As an alternative, consider using "Available Products" or "Available Manufacturers" paragraphs where Owner allows naming of products or manufacturers but does not want to limit selection to those named and does not consider unnamed products as substitutions.

          - Or Equal:  Where products are specified by name and accompanied by the term "or equal" or "or approved equal" or "or approved," comply with provisions in Part 2 "Comparable Products" Article to obtain approval for use of an unnamed product.

        - Product Selection Procedures:

          - Product:  Where Specifications name a single product and manufacturer, provide the named product that complies with requirements.

          - Manufacturer/Source:  Where Specifications name a single manufacturer or source, provide a product by the named manufacturer or source that complies with requirements.

Two subparagraphs below correspond to Closed Proprietary Specifications with optional products if no substitutions are permitted, as described in CSI's "Manual of Practice."  If substitutions may be considered, they correspond to Open Proprietary Specifications with controlled substitutions or bidder-proposed substitutions, if the Instructions to Bidders so indicate.

          - Products:  Where Specifications include a list of names of both products and manufacturers, provide one of the products listed that complies with requirements.

          - Manufacturers:  Where Specifications include a list of manufacturers' names, provide a product by one of the manufacturers listed that complies with requirements.

Two subparagraphs below correspond to nonrestrictive specifications described in CSI's "Manual of Practice" and require inclusion of requirements specifying salient features of products desired.

          - Available Products:  Where Specifications include a list of names of both products and manufacturers, provide one of the products listed, or an unnamed product, that complies with requirements.  Comply with provisions in Part 2 "Comparable Products" Article for consideration of an unnamed product.

          - Available Manufacturers:  Where Specifications include a list of manufacturers, provide a product by one of the manufacturers listed, or an unnamed manufacturer, that complies with requirements.  Comply with provisions in Part 2 "Comparable Products" Article for consideration of an unnamed product.

First two subparagraphs below correspond to nonrestrictive specifications described in CSI's "Manual of Practice" and require specifying salient characteristics of desired products.

Retain subparagraph below only if Specifications also establish performance requirements, require compliance with an industry standard, or include some other method to establish product requirements.  See Evaluations.

          - Product Options:  Where Specifications indicate that sizes, profiles, and dimensional requirements on Drawings are based on a specific product or system, provide the specified product or system.  Comply with provisions in Part 2 "Product Substitutions" Article for consideration of an unnamed product or system.

Retain first subparagraph below if a single product is both named in individual Specification Sections or is indicated on Drawings as the basis of design, and a list of manufacturers' names offering comparable products is included.

          - Basis-of-Design Product:  Where Specifications name a product and include a list of manufacturers, provide the specified product or a comparable product by one of the other named manufacturers.  Drawings and Specifications indicate sizes, profiles, dimensions, and other characteristics that are based on the product named.  Comply with provisions in Part 2 "Comparable Products" Article for consideration of an unnamed product by the other named manufacturers.

          - Visual Matching Specification:  Where Specifications require matching an established Sample, select a product that complies with requirements and matches Architect's sample.  Architect's decision will be final on whether a proposed product matches.

            - If no product available within specified category matches and complies with other specified requirements, comply with provisions in Part 2 "Product Substitutions" Article for proposal of product.

          - Visual Selection Specification:  Where Specifications include the phrase "as selected from manufacturer's colors, patterns, textures" or a similar phrase, select a product that complies with other specified requirements.

            - Standard Range:  Where Specifications include the phrase "standard range of colors, patterns, textures" or similar phrase, Architect will select color, pattern, density, or texture from manufacturer's product line that does not include premium items.

            - Full Range:  Where Specifications include the phrase "full range of colors, patterns, textures" or similar phrase, Architect will select color, pattern, density, or texture from manufacturer's product line that includes both standard and premium items.

      - PRODUCT SUBSTITUTIONS

Review this Article with Owner's legal counsel to confirm what is considered a substitution by Owner and to coordinate Owner's role in approving substitutions.

First paragraph below allows substitutions after bid opening.  If substitution requests are restricted to before bid opening, include requirements in the Instructions to Bidders.  See Evaluations for discussion of 60-day period.

        - Timing:  Architect will consider requests for substitution if received within 60 calendar days after the Notice of Award.  Requests received after that time may be considered or rejected at discretion of Architect.

        - Conditions:  Architect will consider Contractor's request for substitution when the following conditions are satisfied.  If the following conditions are not satisfied, Architect will return requests without action, except to record noncompliance with these requirements:

Revise conditions below, and if desired, insert more restrictive conditions to limit consideration of proposed substitutions.

          - Requested substitution offers Owner a substantial advantage in cost, time, energy conservation, or other considerations, after deducting additional responsibilities Owner must assume.  Owner's additional responsibilities may include compensation to Architect for redesign and evaluation services, increased cost of other construction by Owner, and similar considerations.

          - Requested substitution does not require extensive revisions to the Contract Documents.

          - Requested substitution is consistent with the Contract Documents and will produce indicated results.

          - Substitution request is fully documented and properly submitted.

          - Requested substitution will not adversely affect Contractor's Construction Schedule.

          - Requested substitution has received necessary approvals of authorities having jurisdiction.

          - Requested substitution is compatible with other portions of the Work.

          - Requested substitution has been coordinated with other portions of the Work.

          - Requested substitution provides specified warranty.

          - If requested substitution involves more than one contractor, requested substitution has been coordinated with other portions of the Work, is uniform and consistent, is compatible with other products, and is acceptable to all contractors involved.

      - COMPARABLE PRODUCTS

        - Conditions:  Architect will consider Contractor's request for comparable product when the following conditions are satisfied.  If the following conditions are not satisfied, Architect will return requests without action, except to record noncompliance with these requirements:

          - Evidence that the proposed product does not require extensive revisions to the Contract Documents, that it is consistent with the Contract Documents and will produce the indicated results, and that it is compatible with other portions of the Work.

          - Detailed comparison of significant qualities of proposed product with those named in the Specifications.  Significant qualities include attributes such as performance, weight, size, durability, visual effect, and specific features and requirements indicated.

          - Evidence that proposed product provides specified warranty.

          - List of similar installations for completed projects with project names and addresses and names and addresses of architects and owners, if requested.

          - Samples, if requested.

- EXECUTION (Not Used)

If reference to a special warranty form was added where a single warranty must cover work by several contractors, insert form here and delete "Not Used" above.

END OF SECTION 016000