[image: image1.png]DAMMON





554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

February 25,2026 

Mel Faciane, Project Manager

            Hopkins Construction

            19197 Commission Rd.

             Long Beach, MS 39560

             C: 985-960-0221
Re:

Pride Fire Station

Indian Mound Station

Central, La. 70739

Dear Mr. Facine,

J bolt sizes for the Pre Engineered metal building designed by Pinnacle Structures Inc.

Jamb:   24” Long J Bolts x 5/8” diameter with a 3” leg

Endwall: 24” Long J Bolts x 3/4” diameter with a 3” leg 

Frame:  24” Long J Bolts x 3/4” diameter with a 3” leg

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187

