1) February 30, 2004 

City of Slidell

P.O. Box 828

Slidell, La. 70458

Attn: John Cramer

RE: Cayes Residence

       3111 Oak Lane

       Slidell, La. 70458

Dear Mr. Cramer

2) Per the owners request they are making changes. They are as noted.

3) Floor joist-changing direction on sides.

4) Change hole size in front for flow vent.

5) Change the size of the dishwasher to a 24” opening.

6) Change back porch power beam to 4-2x12’s.

7) Change size of entry door to 3/0 with sidelights.

8) Change a door size and add a door and bathroom in the utility room.

9) Remove side window from master bathroom.

10) Change master bathroom tub size to 6’x42”. Relocate shower next to it.

11) Relocate the master bathroom toilet and vanity.

If you have any questions, or require any further information, please call.

Sincerely,

Chuck Dammon

VP/Project Manager

