May 1, 2002

Mr. Don Zeringue

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 And Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: P0203598

       NOCHC For Health Careers Heating Site Safety Park

       2009 Palmyra

       New Orleans, La. 70112-0000

Dear Mr. Zeringue

 I spoke to you on the phone about the above referenced project. We are asking for an appeal approval for the existing and new piping on the first floor ceiling. It is a historic three-story bldg. approx., 150 years old. The first floor has a 7’-0” ceiling height and the other two floors have 12’-0” ceiling heights. The New Orleans School board has owned the bldg. for many years and is still occupying it and uses it for the same purpose. 

I have included photos of the bldg. to show the height clearances that we have. The bldg. has existing piping and a new fire alarm with exit signs and emergency lights on the first floor ceiling also. The new piping that was installed has a finish floor height of 6’-2” with the insulation on it. With the approval of this we will stripe all new piping that is in the pathway of an exit.

 Please call me with any questions that you may have.

Thank you,

