May 30, 2001

Mr. Sky Lala, Fleet Forman

P.O. Box 628

Covington, LA  70434

RE;
Brewster Barn

            644 Brewster Road

            Madisonville LA, 70447

Dear Mr. Lala;

This is change order #2 for revisions to the code to trap primer devices to floor drains & also to add drains for air handling unit.

This is a $531.35 additional cost. Please sign off on this to verify acceptance.

Sky Lala

Fleet Forman

Mark Canal

McDonald Construction

Chuck Dammon

Dammon Engineering

1
1

